ITEM NO. 14 (A-52)

1.	Name of the subject/project:

Sub: Improvement to Housing Complex, Harijan Basti, Mandir Marg.

SH: Improvement/up-gradation of Harijan Basti flats.

2.   	Name of Deptt./Deptt. concerned.

Civil Engineering Department, NDMC.

3.   	Brief History:

A Sub-Committee was constituted for up-gradation of various NDMC Housing Complexes and Sub-Committee vide circular dated 15.9.2008 has recommended the Improvement & up-gradation of Harijan Basti Housing Complex.  The said Housing Complex has 81 Nos. 3-storeyed and 240 Nos. 4-storeyed flats.  No major work of improvement has been taken up in the Housing Complex and during inspection of the Complex by the Sub-Committee, it was recommended to take up the proposal of up-gradation as these are essentially required.

4.   	Detailed proposal on the subject/project:

For up-gradation of the Housing Complex, following works have been taken up in the proposal:-

1. 	Replacement of GI pipe.

2. 	Providing & placing PVC water storage tank with fittings.

3. 	Providing & fixing Kota Stone slab in staircases.

4. 	Stone grit on exterior surface.

5. 	Water proofing treatment on terrace.

6. 	Improvement of internal drainage system.

7. 	Providing and laying floor tile in rooms.

8. 	Providing and fixing steel glazed windows.

5.   	Financial implications of the proposed project/subject:

The rehabilitation and improvement work being carried out with increase the life   of the structure and hence the socio-economic aspect will be met.  These staff quarters will benefit the habitant staff of NDMC which will be going to serve more after improvement for which a P.E. amounting to Rs. 3,03,76,900/-  has been prepared for obtaining A/A & E/S.

6.   	Implementation schedule:

12 Months after award of work.

7.   	Comments of Finance Deptt. on the subject:

We have no objection if the estimate amount to Rs.3,03,76,900/- (Rupees Three crore three lakh seventy six thousand nine hundred only) as checked by planning and recommended by CE (CE-II) is placed before competent authority for consideration and approval subject to following conditions:-

1. 	Since the flats have been constructed time to time since 1965-66 to 2007-08, the clarifications afforded in response to observation of ACE (C) at page 10/N are brought before competent authority while obtaining approval.

2. 	Clarifications regarding ceramic glazed walls tiles taken vide Item No. 20 of estimate.  Whether it is within the approved norms.

3. 	The department may clarify that all the items taken in the estimate are within the approved norms/specifications of NDMC.

4.  	Certification that all the replaceable items have outlived their prescribed life.

5.  	Permission from DUAC or any other agency needs to be obtained for execution of the proposed work, if required.

8.   	Comments of the Department on comments of Finance Deptt.:

The observations of the finance deptt. are clarified here as under:

- Clarification given to ACE (C) observation is as under:-

| Observation | Clarification |
| --- | --- |
| i) As per project report 32 Nos. flats were constructed during 2007-08. 80 Nos. during 1991 why such majors repair are needed in these flats please clarify | i) No major/ any work has been considered in 32 Qtrs. The improvement work needed for other Qtrs. has been considered in the remaining quarters as for similarity of the complex and upgradation the works in 80 quarters were also considered. |
| ii) As per photograph attached, some Temporary structure are visible on Terrace. How Terrace roof treatment work be carried in entirely so as to ensure proper scope etc. | ii) Due care will be taken at the time of execution and necessary measure will be taken for proper work. |
| iii) In resent past, some works of improvement were carried in complex confirm that the same in not included in this proposal. | iii) No major improvement work was carried out in recent past except A/R & M/O and minor works. |

- The provision of ceramic glazed wall tiles has been taken as per approved norms.

- All the items taken in the estimate are as per approved norms/specifications of NDMC.

- It is certified that all the replaceable items have outlived their prescribed life.

- Since, it is an improvement & up-gradation of existing Housing Complex, hence no permission is required to be obtained from DUAC or any other agency.

9.    	Legal Implication of the project:

Nil

10.  	Details of previous Council Resolutions, existing law of Parliament and

Assembly on the subject:

Nil

11.  	Comments of the Law Department on the subject/project

Nil

12.  	Comments of the Department on the comments of Law Department:

Nil

13.  	Certified that all Central Vigilance Commission (CVC) guidelines 	have been followed while processing the case.

14.  	Recommendation of the Department:

The case is placed before the Council for obtaining A/A & E/S amounting to Rs.3,03,76,900/- for improvement/up-gradation of Harijan Basti Flats.

15.  	DRAFT RESOLUTION

Resolved by the Council, that the proposal for Improvement/up-gradation of Harijan Basti Flats amounting to Rs.3,03,76,900/- as proposed by the Sub-Committee has been approved and department may initiate action in anticipation of confirmation of the minutes by the Council.

COUNCIL’S DECISION

Resolved by the Council to accord administrative approval and expenditure sanction to the preliminary estimate amounting to Rs.3,03,76,900/- for Improvement to Housing Complex, Harijan Basti, Mandir Marg. SH: Improvement/ Upgradation of Harijan Basti flats.

The Council also directed that the Civil Engg. Department should ensure proper upkeep of all such Type-I houses which are proposed to be demolished, till the time these are physically occupied by the allottees.

It was further resolved that further action in the matter be taken in anticipation of confirmation of the minutes by the Council.