ITEM NO. 08 (A-06)

1.	Name of the Project

Name of work: Improvement to Vdiyut Bhawan Office Complex (Old 	Building)

SH: Renovation/Upgradation of Vidyut Bhawan Office Complex (old  	building)

2.         Name of the Department Concerned

Civil Engineering Department, EE(BM-III)

3.	Brief History of the Project

Vidyut Bhawan (Old building), of NDMC is a big office complex and was constructed way back in 1970 and since then no major improvement work has been taken up.  Accordingly an inspection was carried out on dated 26.9.2008 by Director G.A. along with S.O. to Chairman in the presence of ACE-II (Elect.), Dy. CA-II, EE(BM-II) Elect. And E.E.(BM-III) when it was observed that the office space is not being used properly rather being wasted due to improper designing of sitting arrangement. Keeping in view that 13 E.Es  are to be accommodated  alongwith their technical and ministerial staff there.  Presently 9 EEs alongwith their technical and ministerial staff are accommodated in the old building complex and adjoining barracks.

4.	Detailed Proposal of the Project & Scope of Work.

`		It was observed by the higher authorities as mentioned above that the office space is not being used properly rather being wasted due to improper designing of sitting arrangement, keeping in view the 26 E.Es  are to be accommodated  alongwith their technical and ministerial staff there.  Presently only 13 EEs are being considered for old building and the remaining 13 E.Es will be accommodated in next phase while taking up the new block.  The improvement work will over all result in better efficiency of the staff using modern day gazettes for performing official duties & optimum use of the space available in the building.

Accordingly Preliminary Estimate, amounting to Rs.1,72,65,400/- has been prepared by taking  following improvements as per Architectural 	drawings issued  by C.A. Deptt.:-

- Dismantling of brick walls, RCC slabs/ beam including allied fixtures as per requirement of site/ CA drawings.

- 124mm. & 66mm. thick wooden partitions made of double skin silicate board with GI channel studs etc. inside the boards.

- Dog-legged type staircase leading up to terrace level.

- 18mm. thick granite stone flooring and dado in toilets.

- Vitrified anti-skid tile flooring.

- On exterior wall, Dholpur stone cladding upto ground floor and textured paint for first & second floor.

- Powder coated aluminium glazed doors , windows & clerestory windows.

- Regradation of existing mud phaska has also been considered as  per modern technique.

- And allied miscellaneous items of disposal of building rubbish. Lump sum provision of Rs. 5 lacs has been considered to accommodate railings,grills etc. (to be funished by C.A) and some unforeseen items essentially required in the instant case

5.	Financial Implications of the Project

Financial implication/preliminary costing of the scheme for Improvement to Vidyut Bhawan Office Complex (Old Building) SH: Renovation/Upgradation of Vidyut Bhawan Office Complex (old building) is Rs. 1,72,65,400/-.

6. 	Implementation schedule with time lines for each stage including internal 	processing.

Completion of work:	8 months from the date of start

- Comments of FA/ Finance Department dated  8.4.2009  (Diary No. dt 674)

Finance has no objection to the estimate, subject to the following:

  - It appears that the estimate does not cover items/provisions for fire fighting, rain harvesting works etc., if any.  The department may clarify the position in this regard while obtaining approval of competent authority.

  - Certified that all the items taken in the estimate are within the approved specifications of NDMC.

  - Due permission for any Govt. agency, if required is obtained in time to avoid hindrances during execution of work./

  - The replaceable items have outlived their prescribed life.

  - Technical soundness of proposed work.

  - SE(BM) and CE(C-II) may also sign the estimate at appropriate places marked for the same.

  - A lump sum provision @ 20% has been kept for electric department.  The department may keep the provision for electric work after receipt of estimate from CE(E) and accordingly modify the estimated cost.

  - Availability of funds for execution of work.

  - The department may ensure & certify that proposed expenditure will result not only to strengthen existing structure but also the existing space will be put to optimum utilization.

- Comments of the Department on the comments of FA dated 8.4.2009

- The matter has been discussed with Fire Officer. As the height of the building is less than 15 metres as such only dry apparatus with minor cost is required and no wet riser system is required as per norms. For dry apparatus (for fire prevention and fire safety measures) and rain water harvesting, the expenditure shall be met out of contingencies of this work.

- All the items taken in the estimate are as per approved drawings issued by the Chief Architect and CPWD specifications.

- No permission from any other Govt. agency is required as the work is of up gradation purpose to be carried out in the existing building and will over all result in better efficiency of the staff using modern day gazettes for performing official duties & optimum use of the space available in the building...

- The items which are required to be replaced have outlived their life.

- The proposed work is technically sound and the design has been given by the Architect Deptt. with the approval of the Chief Architect.

- Estimate has since been signed by SE(BM) & C.E(C-II)

- The lump sum provision @ 20% has been kept for electrical works/air-conditioning as per consent given by the  S.E.(Electrical) at the time of approval of D.P.R. by the Sub Committee.

- Rs. 10 lacs exists in the current year’s Budget Book for 2009-2010 under head of account H.1.8 and rest of the amount will be sought for in the R.E. of 2009-2010.

- As the up gradation of the building will be carried out externally and internally which will automatically enhance the life of the building and also optimum utilization of the space has been taken care of by the Architect Deptt..

9. 	Legal Implication of the subject/project

Nil

10.	Details of previous Council Resolutions, existing law of Parliament  and assembly  on the subject.

N.A

11.	Comments of LA/ Law Department :-        NIL

12.	Comments of the Department on the comments of LA/ Law Department

NIL

13.	Certified that all Central Vigilance Commission (CVC) guidelines have been followed while processing the case.

14. 	Recommendations :.

Preliminary Estimate amounting to Rs. 1,72,65,400/- for the work “Improvement 	to Vidyut Bhawan Office Complex (Old Building) SH: Renovation/Upgradation of Vidyut Bhawan Office Complex (old  building) “ is recommended for A/A & E/S of the Council.

COUNCIL’S DECISION

Deferred.

ITEM NO. 09 (C-02)