ITEM NO. 05 (A-159)

- Name of Subject/Project: Rehabilitation of old Sewers.

Sub-Head:   Desilting and rehabilitation of 84" dia brick barrel Sewer Line from Kasturba Gandhi Marg, C-hexagon and Shah Jahan Road to Q point.

- Name of Department concerned: Civil Engineering Department (PH Circle)

- Brief History of the Subject/Project:

This preliminary estimate has been framed for desilting and rehabilitation of the existing 84" dia brick barrel Sewer Line from Kasturba Gandhi Marg, C-hexagon and Shah Jahan Road to Q point. The existing line is very old and out lived its life. After rehabilitation of this  84” dia outlived brick barrel, the roads en-route of its alignment of sewer line shall be safe for the road users as it will avert collapsing of old and substantially large sized barrel. The route / alignment of the sewer line is  VVIP route, C-hexagon around India Gate which is of National importance. Caving in roads was a big threat to road user and was in headlines in almost all news papers in 2009. 84” dia sewer is very large in size and laying of a new sewer in place of it is only by adopting micro tunneling which besides being a costly process is not yet an easily / readily available technology in India for implementation. M/s TCE has proposed a 900 mm dia sewer line to have an alternative to the connected branch sewers shall not be laid now. Further part of this 84” dia trunk sewer line has been  recently  desilted by the Sewerage Maintenance Division effecting some cost cut for rehabilitation in already desilted sewer line. The proposed rehabilitation of 84” dia sewer will prove a vital inter link in between twin 2100 dia barrel via C-Hexagon, Dr Zakir Hussain Marg and Q Point and Q point existing system connected with Pragti Vihar SPS and Kilokeri SPS respectively. In the event of failure of any of SPS, blockage / interruption due to technical  fault, natural calamities or sabotage, the NDMC’s VIP area shall not face the eventuality of overflow of trunk sewers.

- Detailed Proposal on the subject/project:

The proposal contained in this estimate is for the rehabilitation in a length of 1568 m of 84” dia brick barrel sewer line including desilting and regrading with confined space excavation wherever required. The technology to be used shall be CIPP liner which is considered to be most suitable and recommended by IIT Delhi in similar cases.

- Budget Provision:

There exists a budget provision for Rs 13 crores for rehabilitation of Old Sewers under D.2.17.12. (A) general head of rehabilitation of sewer. However specific provision shall be made in RE of 2010-11.

- Implementation schedule with lines for each stage including processing:-

After approval of A/A & E/S 	from the Council the implementation schedule will be as under:-

Technical Sanction of DE			06 weeks

Preparation and approval of draft NIT 	06 weeks

Call of tenders				08 weeks

Award of work 				04 months

Execution of work				12 months from date of award

- Comments of finance:

The finance has concurred in the proposal vide their UO no 418 dated 08.03.10 and seen the agenda vide diary no. 364 dt. 11.03.10.

- Comments of the Department on the comments of finance department:

No comments, since Finance Deptt. has concurred the proposal.

- Legal implication of the subject/project:

NIL, since this is a case of A/A and E/S only.

- Comments of the Law department on the subject / Project:

No, law point is involved in the subject matter.

- Comments on the comments of the Law department:

NIL

- CVC Guidelines:

All codal formalities in respect of the preparation of the estimate have been followed in accordance with the CVC guide lines.

- Recommendations:

The case is laid before the council for the consideration and accord of A/A and E/S for an amount of Rs 19,37,26,000/- for the work “Desilting and rehabilitation of 84" dia brick barrel Sewer Line from Kasturba Gandhi Marg, C-hexagon and Shah Jahan Road to Q point”.

COUNCIL’S DECISION

Resolved by the Council to accord administrative approval and expenditure sanction amounting to Rs.19,37,26,000/- for the work “Desilting and rehabilitation of 84" dia brick barrel Sewer Line from Kasturba Gandhi Marg, C-hexagon and Shah Jahan Road to Q point”.

It was also resolved that further action may be taken by the Department in anticipation of confirmation of the Minutes by the Council.