ITEM NO. 10 (A-10)

- NAME OF SUBJECT:

Name of work: Improvement works at Palika Kendra.

Sub head: Strengthening of Piazza Level slab at Palika Kendra.

2.	NAME OF THE DEPARTMENT:

Civil Engineering Department (BM-PK)

3.	BRIEF HISTORY OF THE PROJECT:

The Palika Kendra building was constructed during 1984 based on prevailing fire norms at that time and accordingly the piazza level slab was provided to withstand the load of 25 tones. The fire tenders having 45 tones load will come in case of any fire as per the requirement of Fire Department, since the new fire tenders are coming of 45 ton load, so it has become necessary to strengthen the existing Piazza Level slab of Palika Kendra to bear 45 Metric Ton load of fire tender. For this purpose the consultant M/s Jaitly Associates was appointed with the prior approval of competent authority for strengthening the Piazza Level slabs of Palika Kendra. The consultant has submitted the report and on the basis of same the P.E. amounting to Rs. 1,89,50,000/- has been prepared which has been checked by Planning Division.

4.	DETAILED REPORT OF THE PROJECT:

In the structural design the following provisions have been taken:

- Providing MS Girders ISMB 250mm adjacent to side inner and outer walls to strengthen the slab of piazza level.

- Providing MS Girders ISMB 450mm for longer spans.

In addition, the following items have also been taken in the estimate:

- Water proofing treatment on outer surface.

- 40mm partly flamed granite flooring in front and sides of the building to      retain the water absorption.

- Ceramic glazed wall tiles on wall and columns at basement.

5.	FINANCIAL IMPLICATIONS OF THE PROPOSED SUBJECT:

Accordingly, Preliminary Estimate is framed for Rs.1,89,50,000/- on the basis of DSR 2007 + Rs.5 Lacs contingencies.

6.	IMPLEMENTATION SCHEDULE WITH AND TIME LINES:

12 (Twelve) months from the award of the work.

7.	COMMENTS OF THE FINANCE DEPARTMENT ON THE SUBJECT:

Finance has concurred the proposal vide diary no. 793/Finance/R Civil/dated: 19.04.2010.

8.  	Comments of the department on the comments of Finance 	Department.

No comments in view of concurrence of finance.

9.     	LEGAL IMPLICATION OF THE PROJECT/SUBJECT:

NIL.

10  	Details of the Previous Council’s Resolution, existing laws of

Parliament and Assembly on this subject:

NIL.

11. 	Comments of the law Department on this Subject:

NIL.

12. 	Comments of the department on the comments of Law 	Department:

NIL.

13. 	Certification by the Department that all CVC guidelines had been 	followed, while processing the case:

Certified that CVC guidelines have been followed while processing the 	case.

14. 	Recommendations:

The case is placed before the Council to accord Administrative Approval and Expenditure Sanction to the estimate amounting to                                 Rs.1,89,50,000/- (Rupees one Crore eighty nine Lac fifty thousand only) for the work “Improvement works at Palika Kendra, SH: Strengthening of piazza level slab at Palika Kendra”.   Permission be also accorded to take further action in anticipation of confirmation of minutes of Council.

15. 	Draft Resolution:

Resolved by the Council that A/A & E/S is accorded to the estimate amounting to Rs.1,89,50,000/- (Rupees one Crore eighty nine Lac fifty thousand only) for the work “Improvement works at Palika Kendra, SH: Strengthening of piazza level slab at Palika Kendra”. Permission is also accorded to take further action in anticipation of confirmation of minutes of Council.

COUNCIL DECISION

Resolved by the Council to accord administrative approval and expenditure sanction to the estimate amounting to Rs.1,89,50,000/- for the work “Improvement works at Palika Kendra, SH: Strengthening of piazza level slab at Palika Kendra”.

It was also resolved that further action may be taken by the Department in anticipation of confirmation of the Minutes by the Council.