# ITEM NO. 15 (A-44)

1.	Name of Subject:

Improvement / Upgradation of Chanderlok  Building.

SH: P/F red sand stone in flooring, skirting and jali in the front side open space and granite  stone in riser and treads of stair cases at  Chanderlok Building.

2.	Name of the Department:	Civil Engineering Department, Store

Division cum BM-III

3.	Brief History of the Subject:

Chanderlok Building, NDMC is a prestigious commercial building of NDMC housing various Tourist Offices at Ground Floor and other important offices of Central Govt., State Govt. and other officers of MNCs. The building was constructed in 1969 and since then no major upgradation has been taken up. Looking to the conditions of the building and site inspections, it was decided to improve and upgrade the building. CA suggested some improvements for the beautification and face lifting.

4.	Detailed Proposal of this subject:

A.	Improvement  of Front Open Area

The existing red sand stone flooring in the front open area seems to have lived its life hence needs replacement and sitting arrangement in front open area also required -

- It is proposed that the existing sand stone flooring maybe replaced with new one side machine cut, sand stone of 22” x 22” size.

- The sitting arrangement is proposed to be provided as per the sketch issued by the C.A. Department. It is proposed to fix red sand stone jali after filling the outside planters at entry level as per the sketch with  R.C.C. stools for sitting purposes in the front plaza.

- The existing display boards fixed on the front building façade are also proposed to be removed. The sign board may be displayed in a unique manner on ground floor.

B.	Improvement to internal cut out at stilt floor

It is proposed that the existing M.S. jail and railing fixed at the internal cut out may be cleaned and re-painted with approved colour.

C.	Improvement to the main stair case

As decided during the inspection of Chairperson the existing stone fixed on the riser and tread of the staircase is to be replaced with the Granite stone one piece only, of the approved shade.  It is proposed that the relaying of 	the stone may be done only up to the meeting point of landing and lift lobby.

D.	Replacement of railing for parking area at stilt level

The existing railing at the parking area is to be replaced with the stainless steel railing (S.S.railing) as approved by the Department.

E.	False ceiling in the lift lobby

It is proposed to provide light weight Calcium Silicate Tile (incombustible) in the lobby area on all floors.

F.	Flooring and wall cladding at stilt floor

It has been proposed to replace the damaged flooring with vitrified tile flooring at stilt level (ground) and providing and fixing matching slates on the walls at stilt level.

Replacement of equipment / net work

New seating arrangement will be provided in the front plaza by providing pre-cast R.C.C. stools and red sand stone jail around plaza portion and other replacement work will be executed as proposed in the drawing issued by C.A.

5.	Final implication of the proposed subject:

The works to be carried out are of improvement nature in the existing building and is not to create a new asset.

6.	Implementation schedule and timeliness

Preliminary Amount of the project:   				Rs.63,83,200/-.

Likely time for completion of the project:			31.7.2009

Likely date of clearance of the scheme from the Finance		20.8.2008

Thereafter approval of detailed estimate				05.09.2008

Call of tender							30.09.2008

Receipt of tender						25.10.2008

Approval of tender						10.12.2008

Award of work							20.12.2008

Work likely to start						31.12.2008

Work likely to complete						31.07.2009

7.	Comments of the Finance Department:

- It appears that the estimate does not cover items / provisions for fire fighting, electric works, etc. if any.   The department may clarify the position in this regard while obtaining approval of competent authority.

- Certify that all the items taken in the estimate are within the approved specifications of NDMC.

- Certified that the proposed work is the responsibility of NDMC and no undue benefit to any individual allotted will be extended by way of this work.

- Add the minutes of inspection dated 11.03.2008 in file for record.

- Availability of funds for execution of work.

- We advise the department to check up from the licence deed executed with allottees of shops / offices in the commercial buildings in question whether cost of all the items of work proposed in the instant PE is recoverable in full or in part.   If the answer is in negative, a requisite certificate thereof be recorded.

8.	Comments of the department on the comments of Finance Department:

1.	The work is basically for improvement / upgradation / beautification / face lifting and modern look to the Chanderlok Building.

- Certified that the items taken in the estimate are within the approved specifications of NDMC.

- Up keep of the building is the prime responsibility of NDMC.

- Inspection note of the CA Unit is placed in the file suggesting the improvement of the civil works.

- There is a budget provision of Rs.35 lacs from the current financial year  2008-09 under H.1.8 (Item No.348.1) at page No.211 of Budget Book of 2008-09 )and additional funds shall be sought in RE 2008-09.

- No new assets area created.   The works proposed to be carried out are of improvement nature in the existing system.  No cost is recoverable on full or part from the occupants since the works is of the nature for beautification of the complex.  Lot of foreigner / visitors visit the prestigious Central / State Government Offices.

9.	Legal implementation of this subject:

Title of this building is clear.   The land belongs to NDMC.

10.	Details of the previous Council’s Resolution, existing laws of Parliament and Assembly on this subject:

Not applicable.

11.	Comments of the Law Department on this subject:

Not applicable.

12.	Comments of the department on the comments of Law Department:

Not applicable.

13.	Others:  Confirmed that CVC guidelines have been followed.

14.	Recommendations:

The case is placed before the Council for consideration and accord of administrative approval and expenditure sanction to the preliminary estimate amounting to Rs.63,83,200/- for improvement / upgradation / beautification / face llfting and modern look to the Chanderlok Building.

COUNCIL’S DECISION

Resolved by the Council to accord administrative approval and expenditure sanction to the preliminary estimate amounting to Rs.63,83,200/- for improvement / upgradation / beautification / face lifting of the Chandralok Building.