ITEM NO. 13 (A-16)

1.	NAME OF SUBJECT:

Improvement to community centre, Malcha Marg.

2.	NAME OF THE DEPARTMENT:

Civil Engineering Department (BM-PK)

3.	BRIEF HISTORY OF THE PROJECT:

Malcha Marg community centre was constructed in 1986-87 by NDMC at Malcha Marg in Chanakyapuri. The building has two floors and a basement. This is used by the residents of the area for their cultural and other functions. The Residents Welfare Association of Malcha Marg and residents of adjoining area has demanded for its rennovation and improvement. Accordingly the CA Branch has prepared the drawings for its improvement and rennovation after inspection of the community centre and meeting the Residents Welfare Association. On the basis of preliminary architectural drawings issued by the CA Branch NDMC, a preliminary estimate amount to Rs. 1,26,55,000/- is prepared based on DSR 2007 + 14% cost index + 3% contingencies, duly checked by Planning Division. Provision of one new staircase & lift, granite stone cladding in stair case, renewing all the toilets with modern fixtures, granite stone flooring in the central hall, adjacent rooms, improving the outdoor area with cement concrete tiles etc. and demolition of the old stair case have been considered. The existing kota stone flooring is not in good condition, the corners of kota stone slabs have been chipped off and the same is beyond economical repairs, thus the replacement of kota stone flooring has been taken with granite stone flooring. The preliminary estimate amounting to Rs.1,26,55,000/- is submitted for accord of administrative approval and expenditure sanction.

4.	DETAILED PROPOSAL OF THE PROJECT:

Major Items considered in the estimate are as per drawings issued by the C.A., NDMC which are as under:-

- Construction of new staircase.

- Provision of lift.

- Granite stone flooring in the central hall and adjacent rooms.

- Rennovation of toilets and kitchen with modern fixtures.

- Granite stone cladding inside the staircase.

- Structural toughened glass in the exterior of staircase.

- Providing cement concrete tiles in outdoor space.

- Fire prevention and fire safety measures.

5.	FINANCIAL IMPLICATIONS OF THE PROPOSED SUBJECT:

Accordingly, a preliminary estimate amount to Rs. 1,26,55,000/- is prepared on the basis of DSR 2007 + 14% cost index + 3% contingencies. Details are as under:

Civil work						Rs. 62,18,273/-

Electric work including lift and Air-conditioning 		Rs. 33,77,284/-

Horticulture work 				         	Rs.25,380/-

Rs.96,20,937/-

14% cost  index                                           		Rs.13,69,611.00

Rs. 1,09,90,548.00

Fire fighting                                          		Rs. 12,00,000.00

Rs. 1,21,90,548.00

Credit for dismantled material  (-)           		Rs.        35,720.00

Rs. 1,21,54,828.00

Contingencies                                        		Rs.      5,00,000.00

Rs. 1,26,54,828.00

Say   Rs. 1,26,55,000.00

6.	IMPLEMENTATION SCHEDULE WITH AND TIME LINES:

12 months from the award of the work.

7.	COMMENTS OF THE FINANCE DEPARTMENT ON THE SUBJECT:

Finance has concurred the proposal vide diary No. R-1600/PS/FA dated 16-7-2010.

8.  	Comments of the department on the comments of Finance 	Department.

No comments in view of concurrence of finance.

9.     	LEGAL IMPLICATION OF THE PROJECT/SUBJECT:

NIL

10  	Details of the Previous Council’s Resolution, existing laws of

Parliament and Assembly on this subject:

NIL

11. 	Comments of the law Department on this Subject:

NIL

12. 	Comments of the department on the comments of Law  Department:

NIL

13. 	Certification by the Department that all CVC guidelines had been 	followed, while processing the case:

Certified that CVC guidelines have been followed while processing the case.

14. 	Recommendations:

The case is placed before the Council to accord Administrative Approval and Expenditure Sanction to the estimate amounting to Rs.1,26,55,000/- for “Improvement to community centre, Malcha Marg”.  Permission be also accorded to take further action in anticipation of confirmation of minutes of Council.

15. 	Draft Resolution:

Resolved by the Council that A/A & E/S is accorded to the estimate amounting to Rs.1,26,55,000/- for “Improvement to community centre, Malcha Marg”. Permission is also accorded to take further action in anticipation of confirmation of minutes of Council.

COUNCIL DECISION

Resolved by the Council to accord administrative approval and expenditure sanction to the estimate amounting to Rs.1,26,55,000/- for “Improvement to community centre, Malcha Marg”.

It was also resolved that further action may be taken by the Department in anticipation of confirmation of the Minutes by the Council.