ITEM NO. 08 (A-85)

1.	Name of subject/project: - S/R of roads in NDMC area during 2007-08.

Sh:- Providing over-lay of mastic asphaltic concrete at Railway Bridge Shanti Path, Round about, at the junction of BHS Marg and Africa Avenue, under bridge Africa Avenue, G- Avenue and Round about of Laxmi Bai Nagar near Safdarjung Flyover.

2.	Name of Department:

Civil Engineering Department, Road-III Division.

3.	Brief History the Subject/Project:

(a)	A comprehensive plan for Improvement to roads, footpaths, lanes, by lanes,                Round About and drainage systems in NDMC area was approved in principle by the Chairperson on 12-March-07.

(b)	The mastic wearing course at following roundabouts/ flyover /under bridges were laid between 1998-2000

      - BHS Marg and Africa Avenue		-	Round about

      - Africa Avenue				-	Under bridge

      - G-Avenue				-	Under bridge

      - Railway Bridge, Shantipath		-	Flyover

      - Laxmi Bai Nagar				-	Roundabout

(c)	Due to prolonged use, these roundabouts/ under bridges/ flyover have outlived their life and are due for resurfacing. The riding quality of these roundabouts/bridges/flyover has also gone bad as a result of which lot of inconvenience is being faced by the motorists.

(d)	Since the mastic layer has outlived its life so the case for Preliminary Estimate for Rs.81,94,000/- has been initiated by the executives. The Preliminary Estimate has been checked by the Planning.

(e)	The Preliminary Estimate has been concurred by the Finance Department also.

4.	Detailed proposals of Case:

The brief details of scheme are as under:-

- Providing and applying tack coat using hot bitumen grade 80/100.

- Providing and fixing chicken wire mesh reinforcement of 0.71/m dia (22 gauge).

- Providing and laying 25mm thick bitumen mastic concrete wearing course with bitumen grade 85/25 confirming to IS:702.

- Financial Implications of the proposed/subject:

The Financial Implications of the proposed work out to Rs. 81,94,000/-.

- Implementation schedule with time lines for such stage including internal proceedings:

The scheduled time for completion of work is nine months after the award of work.

7.	Comments of the Finance Department on the subject:

The Finance Department has concurred in the Preliminary Estimate subject to following:-

(a)	The area where the work is proposed to be done is same as shown in the approved pavement improvement Programme 2007-08.

(b)	The life of the surface, to be treated with the treatment as proposed, has to be 10 years, in terms of reference received from CRRI.

8.	Comments of the department on comments of Finance Department.

- The proposed work is included in the approved Pavement Improvement Programme.

- As per CRRI recommendations the design life can be considered as 10 years but the evaluation of surface condition has to be carried out after 7 to 8 years to check for any failure etc.  The assessment carried out after 8 years has shown that these roundabouts/bridges/ flyover need resurfacing.

9.	Details of previous council reso, existing law of Parliament and Assembly on the subject:

NO.

- Comments of the law department on the subject:

No law point is involved in the agenda item.

11.	Comments of the department on the comments of the law department:

No comments in view of comments of Law Deptt.

12.	Recommendations:

The case is laid before the council for consideration and accord Administrative Approval and Expenditure Sanction of Rs. 81,94,000/- to the Preliminary Estimate for the work of Providing of over-lay of Mastic Asphaltic concrete at Round about at the junction of BHS Marg and Africa Avenue, under bridge Africa Avenue, Under Bridge G-Avenue, Railway Bridge Shanti Path and Roundabout of Laxmi Bai Nagar near Safdarjung Flyover.

COUNCIL’S DECISION

Resolved by the Council to accord administrative approval and expenditure sanction amounting to Rs.81,94,000/- to the preliminary estimate for the work of Providing of over-lay of Mastic Asphaltic concrete at round about at the junction of BHS Marg and Africa Avenue, under bridge Africa Avenue,  Under Bridge G-Avenue, Railway Bridge Shanti Path and round about of Laxmi Bai Nagar near Safdarjung Flyover.

ITEM NO. 09 (B-54)

(1) Name of the Project :	Re-arrangement and augmentation of HT feeders in various Electric Substations in Connaught Place area (Phase-I).

(2) Name of the Department  :  Electricity (11 KV Planning)

(3) Brief History of the Project :

The then NDMC Chairperson constituted an Expert Committee in the year 2005, under the Chairmanship of Sh. Y.P.Singh, Chairman (ECGR Forum NDMC), including Chief Engineer (Elect.), alongwith representative one each of Electrical and Commercial Deptt and  Sh. D.K. Sharma, retired Engineer from the then D.V.B. as its members.  This committee had submitted an exhaustive report based on system study, physical inspection of electric sub-stations/system control, deliberations with the field Engineers.

The committee further recommended to address weak points by taking urgent actions not only for replacing of old/obsolete outlived cables/equipment but also for augmentation of transformers, feeders, switchgears and associated equipments to meet the increasing  load demand and also provide flexibility in the system.

A number of transformers and cables as found overloaded were also advised to be replaced as a major exercise to relieve the system from overloading and leading to repeated interruptions/burning of cables etc.  The job being voluminous, though started but could not take the pace it was required to due to lengthy procedures involved in sanction of estimates, award of work / purchase and inadequate manpower.

In view of above, another committee was constituted by Secretary, NDMC vide office order No. 220/PS/Secretary/D/07 Dt. 23/07/2007, to prepare a road map for the revamping of electrical system in NDMC, befitting to the projections upto year 2021, under the overall guidance and convenorship of Sh. Y.P. Singh, Chairman ECGRF.

Accordingly, the constituted committee submitted its report in October, 2007 and preliminary estimate for revamping of electrical system of NDMC upto 11 KV amounting to Rs.336.09 crores.  The draft agendum to be placed before the Council for approval stands submitted to Finance Deptt. for concurrence.

In view of the above report, Re-arrangement and augmentation of HT feeders in various Electric Substations in Connaught Place area were examined and discussed at length in the deptt. with C.E.(E), S.E. IV, S.E.(P), E.E.(M/N) etc. and it was decided to re-arrange and augment the following HT feeders.  The new feeders shall be terminated in the existing panels :

The existing cable arrangement and the proposed re-arrangement / augmentation are shown in the drawings placed in the file.  As may be seen from the credit sheet, some  HT cables have served their prescribed useful life of 35 years and remaining cables are of under size and are unable to meet the required load.  The proposed re-arrangement/augmentation shall be simple and easy to maintain.  The old cables shall be dismantled to the extent economical.

HT XLPE cable size 400sq.mm/3C between Connaught Place to Hanuman Road and Scindia House :

- From Electric Substation Connaught Place to Palika Bazar.

- From Electric Substation Palika Bazar to Car Parking I.

- From Electric Substation Car Parking I to Car Parking II.

- From Electric Substation Car Parking I to Hanuman Road.

- From Electric Substation Scindia House to Car Parking II

HT XLPE cable size 400sq.mm/3C between Connaught Place to School Lane :

- From Electric Substation School Lane to Bharat Hotel.

- From Electric Substation Bharat Hotel to Connaught Place.

HT XLPE cable size 400sq.mm/3C between Connaught Place to the proposed Electric Substation  Raja Bazar :

- From Electric Substation Connaught Place to Minto Road.

- From Electric Substation Minto Road to New Plaza.

- From Electric Substation New Plaza to the proposed Electric Substation Raja Bazar.

HT XLPE cable size 400sq.mm/3C between Scindia House to Hanuman Road :

- From Electric Substation Scindia House to Indian Oil Bhawan.

- From Electric Substation Indian Oil Bhawan to Regal.

- From Electric Substation Mohan Singh Place to Regal.

(4)  Detailed proposal on the Project :

| (a) | The existing system : | The existing HT cables are from City Centre to Regal, Bharat Hotel to School Lane & Tilak Marg, Two cables from Conn. Place to Car Parking I & Minto Road, Minto Road to New Plaza, Scindia House to Indian Oil Bhawan and Car Parking II, Car Parking I to Car Parking II, Car Parking I to Palika Bazar. Bombay Life to Palika Bazar. |
| --- | --- | --- |
| (b) | Deficiencies of the existing system : | Some HT cables have served their prescribed useful life of 35 years and remaining cables are of under size and are unable to meet the required load. |
| (c) | Extent of utilization of existing system : | Old cables shall be dismantled to the extent economical/used in the existing system. |
| (d) | Necessity of augmentation of the system : | The proposed re-arrangement/ augmentation shall simplify the system and shall be easy to maintain besides creating capacity at Tilak Marg substation for meeting load of National Stadium being renovated/reconstructed for C.W.G. 2010. |
| (e) | Technical viability of the proposed scheme : | Technically viable. |

(5)	Financial implications of the proposed project :

Rs 2,40,74,000/-

(6)	Implementation schedule with time-lines for each stage including internal processing :

The work is likely to be completed by the end of  2008.

(7)	Comments of the Finance Deptt. on the subject :

Finance Deptt. has concurred in the proposal vide Dy. No. 206/Finance dated 8-2-08 subject to following observations :

- Approval of the Competent Authority.

- Availability of funds.

- Cable at most of the places has not served its useful life.  Reasons for its replacement before serving normal life be placed on record.

- Credit for the dismantled cable must be given.

- Possibilities for reusing dismantled cable which has not served its normal useful life may also be explored.

(8)	Comments of the Deptt. on comments of Finance Deptt.

- Necessary approval from the competent authority is being sought.

- Funds are available. A provision of Rs. 25 crores was proposed during B.E. 2008-09 but was reduced to Rs.2 crore only during the discussion in the chamber of Addl. F.A. on 21-11-07 under the Head E-3 “Old 11 KV HT cables, LT cables, service line & meter boards.”  It was further informed in the meeting that the same shall be revised suitably in R.E. 2008-09.

- Cables are of under size and are unable to meet the required load.  The proposal is to simplify the system besides increasing reliability of electricity supply and augmenting capacity  of electricity supply system.

- Credit for portion of cables which can be dismantled economically  shall be given to the work.

- Possibilities for reusing dismantled existing cables which have not served their normal useful life shall be explored by way of diverting portions of cable to streamline/augment our adjoining distribution system.

(9)	Legal implication of the Project : No legal implication is involved.

(10)	Details of previous Council Resolution :	NIL

(11)	Comments of  L.A.  on the project :  No legal implication is involved.  This has their concurrence.

(12)	Recommendation : The case is noted to the Council for according administrative approval and expenditure sanction to the estimate amounting to Rs. 2,40,74,000/- for Re-arrangement and augmentation of HT feeders in various Electric Substations in Connaught Place area (Phase-I).

(13)	Draft Resolution : Resolved by the Council that the estimate amounting to Rs.2,40,74,000/- is approved and expenditure sanctioned for Re-arrangement and augmentation of HT feeders in various Electric Substations in Connaught Place area (Phase-I).

COUNCIL’S DECISION

Resolved by the Council that the estimate amounting to Rs.2,40,74,000/- is approved and expenditure sanctioned.  The credit for portions of cables, which can be economically dismantled shall be given on actual basis after doing the cost-benefit analysis of dismantling and disposal.