ITEM NO. 05 (A-58)

1.	Name of the subject/project:

Sub: Improvement to Gandhi Sadan Hocusing Complex.

SH: Improvement & up-gradation of Gandhi Sadan Housing Complex flats Mandir Marg.

2.	Name of Deptt./Deptt. concerned.

Civil Engineering Department, NDMC.

3.	Brief History:

A Sub-Committee was constituted for up-gradation of various NDMC Housing Complexes and Sub-Committee has circulated a report vide no. 1814/SE BM dated 15.9.2008. Sub-Committee has recommended the Improvement & up-gradation of Gandhi Sadan Housing Complex flats Mandir Marg  The said Housing Complex has 96 Nos. 4-storeyed type 2 flats.  No major work of improvement has been taken up in the Housing Complex and during inspection of the Complex by the Sub-Committee, it was recommended to take up the proposal of up-gradation as these are essentially required.

4.	Detailed proposal on the subject/project:

For up-gradation of the Housing Complex, following works have been taken up in the proposal:-

1. Replacement of GI and SCI pipes.

2. Providing & placing PVC water storage tank.

3. Providing & fixing Kota Stone slab in staircases.

4. Stone grit on exterior surface.

5. Water proofing treatment on terrace.

6. Providing and laying ceramic glazed floor tiles in rooms.

7. Replacement of damaged door shutters.

8. Sanitary fittings.

9. Improvement of internal service roads by RMC.

10. Providing and fixing FRP chajjas.

11. Providing and fixing MS safety door shutters.

5.	Financial implications of the proposed project/subject:

The rehabilitation and improvement work being carried out with increase the life   of the structure and hence the socio-economic aspect will be met.  These staff quarters will benefit the habitant staff of NDMC which will be going to serve more after improvement for which a P.E. amounting to Rs. 1,39,41,300/-  has been prepared for obtaining A/A & E/S.

6.	Implementation schedule:

12 Months after award of work.

7.	Comments of Finance Deptt. on the subject:

Subject to correctness of data, computation and information brought on record, we have no objection if the estimate amounting to Rs. 1,39,41,300/- (Rupees on crore thirty nine lakh forty one thousand three hundred only) is placed before the competent authority for consideration, bringing on record the list of items which have not outlived prescribed life but are proposed to be replaced along with proposed expenditure on them and justification for replacement & re-use of these items.

CE(C-II) may sign the estimate at appropriate place marked for the same having been satisfied that the items & provisions in the estimate have support of the rules & regulations on the subject. Availability of funds may be ensured for execution of work.

8.	Comments of the Department on comments of Finance Deptt.:

The observations of the finance deptt. are clarified here as under:

- The building is old as was constructed in 1968-69 and no major work was carried out till date except the items needed for maintenance purposes and to keep the building/ flats for day to day use. The items taken in the estimate needs to be replaced/ repaired being essential items which have served almost its life & some of items are connected to each other which needs to be replaced & this would increase the life of the structure. The credit to the dismantled material has been given in the estimate which would likely to receive after replacement of various items.

- The estimate has been signed by CE (C-II) having been satisfied that items and provisions in the estimate have been taken as per rules and regulations.

- There is budget provision of Rs. 35 lacs in the budget book of 2009-10 and rest will be sought in R/E 2009-10 & budget estimate 2010-2011. Finance has seen and there is no comments to offer.

9.	Legal Implication of the project:

Nil

10.	Details of previous Council Resolutions, existing law of Parliament and Assembly on the subject:

Nil

11.	Comments of the Law Department on the subject/project

LA has seen the case.

12.	Comments of the Department on the comments of Law Department:

Nil

13.	Certification by the Department:

Certified that all Central Vigilance Commission (CVC) guidelines have been followed while processing the case.

14. 	Recommendation of the Department:

The case is placed before the Council for obtaining A/A & E/S amounting to Rs.1,39,41,300/- for improvement & up-gradation of Gandhi Sadan Housing Complex flats at Mandir Marg.

15.	DRAFT RESOLUTION

Resolved by the Council, that the proposal for Improvement & up-gradation of Gandhi Sadan Housing Complex flats Mandir Marg amounting to Rs.1,39,41,300/- as proposed by the Sub-Committee has been approved and department may initiate action in anticipation of confirmation of the minutes by the Council.

COUNCIL’S DECISION

Resolved by the Council to accord administrative approval and expenditure sanction amounting to Rs.1,39,41,300/- for Improvement & up-gradation of Gandhi Sadan Housing Complex flats Mandir Marg.

It was also resolved that further action in the matter be taken in anticipation of confirmation of the minutes by the Council.