ITEM NO. 4 (A-1)

- Name of Work : 	Strengthening of Water supply System in NDMC Area.

SH : Installation of 26 Nos. tubewells for Horticulture purposes.

2,  Name of the Deptt.:   Civil Engineering, Public Health Circle, Water Supply Division.

3.  Brief History of the Subject

Director (Hort.) vide letter No. D-118/PA/DH/06 dt. 21.04.06 has intimated regarding horticulture improvement of the following roads and requested to provide tubewells with hydrants system for irrigation:-

i) Prithavi Raj Road, (ii) Janpath Road, (iii) Aurangzeb Road, (iv) Akbar Road, (v) Tughlak Road, (vi) Safdarjung Road, (Vii) Moti Lal Nehru Marg, (viii) Man Singh Road, (ix) K.Kamraj Marg, (x) Maulana Azad Road, (xi) Dalhousie Road, (xii) Church Road, (xiii) Sunehari Bagh Road.

Accordingly, this case was referred to CGWA.  CGWA has accorded no objection for construction/development of tubewells on these roads vide letter No. 26-9/TS/CGWA/200(PY)-24 dt. 13.07.06.

- Detailed Proposal of the subject

As per para 2 of the standing order No. 07/2003-04, a sub committee was nominated by Chairperson comprising of the following officer –

      - Sh. Subhash Chandra, Director (Hort.)

      - Er. R.S. Thakur, SE(PH)

      - Er. N.N. Sharma, SE(Construction)

      - Er. A.K. Pathak, EE(Planning)

      - Er. C.M. Narang, EE(W/S)

All the members of the Sub Committee are of the opinion that there is no other alternative except to provide tubewells on these 13 roads alongwith hydrant system for irrigation purposes.

It has, therefore, been proposed that 26 Nos. tubewells are to be installed i.e. one each on the either side of the above mentioned 13 roads.

-2-

Provision for drilling of 120 mtrs. deep tubewells with 200mm dia M.S. Plain/Slotted pipe upto 90 Mt. depth and thereafter 150 mm dia M.S. Plain/Slotted pipe upto 120 Metre depth including supplying and installation of 5 HP submersible pumpset alongwith all electrical an d mechanical fixtures, chambers and providing and laying 50mm dia G.I. pipe with hydrants have been taken.  The depth of the tubewells have been taken as 120 Mt. due to decreasing under ground water level.  The average discharge of tubewell is generally about 10,000 litres per hour which is not sufficient enough to feed both sides of the roads and hence the separate tubewell has been proposed on either side of each Road.

5.  Financial implications of the proposed subject

Accordingly, a proposal was framed amounting to Rs. 2,27,06,200/- by the department and the same was got checked from the main planning.  The scheme has been included in the budget and the provision of Rs. 150 Lacs has been made in budget estimate for the year 2007-08 under code head F-11 vide item No. 236 (22).

6  Implementation schedule with timeliness for each stage

including internal processing

After approval of Preliminary Estimate & accord of administrative approval and expenditure sanction from the Council, the following time schedule will be implemented :-

A.	Boring of tubewell 				8 Months

B	Supply & installation of Sub. Pumpset 		8 Months

With electric  connection.

C.	Providing G.I. Pipe hydrant system		8 Months

7  Comments of the Finance Department on the Subject

The observation of the Finance Department dt. 2.11.06 and 5.12.06 were clarified and finally, the Finance has observed as under :-

“It has been noticed that under Tenth Five Year Plan, there is a scheme titled as “Environmental Improvement along drains, roads and nallahs under the Head H.1.8  A(page 66 of current year’s Budget Book) 2006-07 is the last year of the Tenth Five Year Plan.  The scheme in question is to be implemented, if cleared, in Ist and 2nd year of the said scheme, as provision of water for Horticulture purposes will definitely improve the environment.  The department may as such is advised to include the said scheme under Eleventh Five Year Plan. There is no bar of taking up any scheme meant for Horticulture purposes under Plan. Subject to the said advice, we concur in the PE amounting to Rs. 2,27, 06,200/- (Rupees two crore twenty seven lakh six thousand two hundred only) as checked by the Planning subject to the conditions given by CGWA in their clearance letter dt. 13.07.06 are complied properly and time schedule as proposed is adhered to.

8.  Comments of the department on comments of Finance Deptt.

For budget provision, the scheme has been included in the budget estimate for the year 2007-08 under code head F-11 vide item No.236 (22).  It is also confirmed that CGWA recommendation will be considered during the detail planning of the project.

9.   Legal implication of the subject

Not applicable.

10. Details of previous Council Resolutions existing law of Parliament and

Assembly on the Subject

Not applicable.

11.  Comments of the Law Department on the subject

Not applicable.

12.  Comments of the Department on the comments of Law Deptt.

Not applicable.

13.  Recommendation

The case is placed before the Council for consideration and accord of administrative approval and expenditure sanction to the preliminary estimate amounting to Rs.2,27, 06,200/- (Rupees two crore twenty seven lakh six thousand two hundred only).

COUNCIL’S DECISION

Resolved by the Council that administrative approval and expenditure sanction to the preliminary estimate amounting to Rs.2,27,06,200/- is accorded for Installation of 26 nos. of tubewells for Horticulture purposes.