ITEM NO. 10 (B-37)

(1) Name of the work :	Replacement / Augmentation of oil type transformers with dry type transformers in left out multi storeyed buildings in M/N area.

(2) Name of the Department  :  Electricity

(3) Brief History of the case :

Delhi Electricity Regulatory Commission vide their Public Notice published in Times of India has mandated for replacement of oil type transformers with dry type transformers inside all residential and commercial buildings.  Accordingly, estimates for augmentation/ replacement of oil type transformers with dry type transformers were prepared in phases.  Two such estimates have already been approved by Council and the work is in the process of execution.

Advisor (Elect.) inspected a few Sub-stations and suggested that possibility of shifting the transformers in the open area be explored instead of replacing the existing oil type transformers with dry type transformers.  The estimate was accordingly  prepared and discussed at length on 26-11-09 in the chamber of  Advisor (Elect.) in the presence of S.E.(E-II) & S.E.(E-V) .  It was finally decided that the whole estimate may be split up considering the execution facility, nature of sites etc. (as per the point No.3 & 4 of the Minutes of the Meeting,  placed below as Annexure-A See pages 104 - 105 ).

Accordingly as per Point No.3 (a) & 4 of the Minutes, a separate estimate amounting to  Rs.8,27,82,500/- (G) & Rs.8,19,75,500/- (N) for replacement/augmentation of oil type transformers with dry type transformers of higher capacity was prepared.  The higher capacity transformers are essentially required in view of increasing load demand from the consumers of these multi storeyed buildings.  As per the discussion held in the meeting in the chamber of F.A. on 16.02.2010, revised estimate amounting to Rs. 5,83,09,500/- (G) & 5,75,03,000/- (N) has been framed after taking new rate of 1600 KVA dry type transformer.

(4)  Detailed proposal on the Project :

In view of above, Replacement/Augmentation of transformers & LT panels in M/N division  were examined and it was decided to carry out the work of replacement in M/N division  of left out  7 Electric Substations  of multi storeyed buildings.  The transformers to be  dismantled are in good condition and giving satisfactory service.  They may be used for day-to-day maintenance in future.  The following transformers are to be installed in place of existing oil type transformers in various buildings:

| S.NO. | EQUIPMENT | QUANTITY |
| --- | --- | --- |
| 1. | Transformer 1600KVA | 20 |
| 2. | LT Panel two tier 2500/2500 A | 13 |
| 3. | LT Panel two tier 2500/800 A | 7 |
| 4. | LT Panel two tier 800/800 A | 40 |

The detail capacity of transformers and panels at each substation is given in the Annexure-B See page 106 .

(5)	Financial implications : Financial implications in the proposal is anticipated to be Rs.5,83,09,500/- (G) & Rs.5,75,03,000/- (N).

(6)	Implementation schedule: Nine  months

(7)	Comments of the Finance Deptt. on the subject :

Finance Deptt. vide Dy. No. 404/Finance/R-Elect dated 19-2-10  have concurred in the estimate subject to the following conditions :

- Approval of the competent authority.

- Availability of funds.

- The work would be got executed after adhering all codal provisions and CVC’s guidelines.

(8)	Comments of the Deptt. on the Comments of the Finance  Deptt. :

- Approval of the competent authority is being obtained.

(ii)  The funds have been made available in B.E. 2010-11.

(iii) All codal provisions and guidelines of CVC have been adhered    to.

(9)	Legal implication of the Project : - No legal implication is involved.

(10)	Details of previous Council Resolution :	NIL

(11)	Comments of  Law Deptt. :  	NIL

(12)	Comments of the Deptt. on the comments of Law Deptt. :  NIL

(13)	Certification by the Deptt. that all Central Vigilance Commission (CVC) guidelines have been followed :

It is certified that all Central Vigilance Commission (CVC) guidelines have been followed in processing the case.

(14)	Recommendation  :

The estimate amounting to Rs.5,83,09,500/- (G) & Rs.5,75,03,000/- (N) for Replacement/ Augmentation of oil type transformers with dry type transformers in left out multi storeyed buildings in M/N area may be placed before the Council to accord administrative approval and expenditure sanction.

(15)	Draft Resolution :

Resolved by the Council that Administrative approval and expenditure sanction is granted to the estimate amounting to Rs.5,83,09,500/- (G) & Rs.5,75,03,000/- (N) for Replacement/ Augmentation of oil type transformers with dry type transformers in left out multi storeyed buildings in M/N area.

COUNCIL’S DECISION

Resolved by the Council to accord administrative approval and expenditure sanction to the estimate amounting to Rs.5,83,09,500/- (G) & Rs.5,75,03,000/- (N) for Replacement/ Augmentation of oil type transformers with dry type transformers in left out multi storeyed buildings in M/N area.