ITEM NO. 06 (B-2)

(1) Name of the work :	Installation of additional transformers at various substations in Sarojini Nagar and Kidwai Nagar (West) area.

(2) Name of the Department  :  Electricity

(3) Brief History of the case :

A number of notes have been received from EE(D/S) and EE(M/S) that load is rapidly increasing in Sarojini Nagar and Kidwai Nagar Areas and they are facing problem in  meeting the load demand of these areas.  More and more air conditioners and other electrical appliances are being added by the consumers in their premises and a substantial increase in load is expected in the next two three years.  Considering the same a joint inspection by EE(P), EE(M/S), AEE(P) and JE(M/S) was carried out on 30.06.09 at various substations to explore the possibility of enhancement in the transformer capacity.   During discussion of E. E.(E)(P.11KV) with Advisor (Elect.), it was decided  that two existing oil type transformers of 1000 KVA  at Sub-station Kidwai Nagar (West) are to be shifted from their present location in the Sub-station-cum- multi storied residential complex to the open space under temporary shed.  This shifting is to be carried out for safety purpose.  Moreover, one additional oil type transformer of 1000 KVA  will also be installed under temporary shed at Sub-station Kidwai Nagar (West).   Therefore, an estimate has been prepared to augment the transformer capacity at the following Sub-stations :

1. S/S Indira Niketan, Laxmi Bai Nagar

2. S/S C-Block, Sarojini Nagar

3.  S/S I- Block, Sarojini Nagar

4. S/S Kidwai Nagar (West)

(4)  Detailed proposal on the Project :

- 2x1000 KVA Transformers each shall be installed at S/S I-Block & S/S C-Block in Sarojini Nagar and 1x1000 KVA transformer each will be installed at S/S Kidwai Nagar (West) and Sub-station Indira Niketan, Laxmi Bai Nagar.  In all 6 Nos. of additional 1000KVA oil type transformers shall be installed at the above mentioned substations. The  1000 KVA oil type transformers to be installed at the above sub-stations would be available as spare after replacement/ augmentation of  oil type transformer with dry type transformer (phase-II).  50% cost of new transformer as indicative cost has been taken in this estimate on account of providing old dismantled transformer.

- Two 11KV VCB panels each at S/S I Block & S/S C-Block in Sarojini  Nagar  and one each at S/S Kidwai Nagar (West) & Sub-station   Indira Niketan, Laxmi Bai Nagar.  In all 6 Nos. of HT panels  have been proposed for installation .

- One LT ACB Two Tier (I/C+C) 1600A+1600A each at s/s I Block, S/S C-Block, S/S Kidwai Nagar (West) & Indira Niketan.  A total of 4 Nos. of these LT ACB two tier (I/C+C) panels are to be installed.

- One LT ACB two tier (I/C+O/G) 1600A+800A each at S/S I Block, S/S C-Block is  proposed to be installed.  In all 2 No. of these panels are proposed for installation.

Four LT ACB Two Tier (O/G+O/G) 800A+800A each at S/S I Block, S/S C-Block & two each at S/S Kidwai Nagar (West) and  S/s Indira Niketan are to be installed.  In all 13 Nos. of these LT ACB Two tier (O/G+O/G) 800A+800A are proposed to be installed.

(5)	Financial implications :  Rs.1,44,79,000/-.

(6)	Implementation schedule: Nine months.

(7)	Comments of the Finance Deptt. on the subject :  Finance Deptt. vide Dy. No. 339/Finance/R-Elect dated 5-3-10  have concurred in the estimate with no further comments.

(8)	Comments of the Deptt. on the Comments of the Finance  Deptt. : NIL

(9)	Legal implication of the Project : - No legal implication is involved.

(10)	Details of previous Council Resolution :	NIL

(11)	Comments of  Law Deptt. :  	NIL

(12)	Comments of the Deptt. on the comments of Law Deptt. :  NIL

(13)	Certification by the Deptt. that all Central Vigilance Commission (CVC) guidelines have been followed : It is certified that all Central Vigilance Commission (CVC) guidelines have been followed in processing the case.

(14)	Recommendation  : The estimate amounting to Rs. 1,44,79,000/- for Installation of additional transformers at various substations in Sarojini Nagar and Kidwai Nagar (West) area may be placed before the Council to accord administrative approval and expenditure sanction.  Approval may also be accorded  to take further action in anticipation to confirmation of the Minutes of Council Meeting.

(15)	Draft Resolution : Resolved by the Council that Administrative approval and expenditure sanction is granted to the estimate amounting to Rs. 1,44,79,000/- for Installation of additional transformers at various substations in Sarojini Nagar and Kidwai Nagar (West) area.  Approval is also accorded to take further action in anticipation to confirmation of the Minutes of Council Meeting.

COUNCIL’S DECISION

Resolved by the Council that administrative approval and expenditure sanction is granted to the estimate amounting to Rs. 1,44,79,000/- for Installation of additional transformers at various substations in Sarojini Nagar and Kidwai Nagar (West) area.

It was also resolved that further action may be taken by the Department in anticipation of confirmation of the Minutes by the Council.