ITEM NO. 11 (B-22)

(1) Name of the work :	Establishing an electric substation  adjoining Barat Ghar, Khan Mkt., New Delhi

(2) Name of the Department  :  Electricity

(3) Brief History of the case :

The load requirement in Khan Market and surrounding area has been increasing day by day and the power demand of load is not feasible from the existing nearby Sub-stations.  There are 5 x 1000 KVA transformers at Sub-station Lok Nayak Bhawan which remain over-loaded during summer season.

It is, therefore, proposed to construct an electric Sub-station in Khan Market area adjacent to the Barat Ghar.  The proposed Sub-station shall facilitate reliable power supply and shall meet the load requirements of various consumers in the adjoining area as the number of connections as well as load has been increasing day by day.

(4)  Detailed proposal on the Project :

C.A., NDMC vide No. 514/CA/HA/Design dated 27-11-08 has sent the drawing for the proposed Sub-station adjoining Barat Ghar, Khan Market.   Estimate has been framed on the basis of  drawings provided by  Dy. C.A. vide No. D-423/CA/HA/Design dated 29-1-09.

DESIGN & SCOPE

The following has been proposed:-

(i)	Installation of 3 x 1600 KVA oil type transformers and associated HT/LT equipments.

(ii)	400 mm2/3C HT cable to be laid from Sub-station Pandara Road No.7 to proposed Sub-station, Khan Market Barat Ghar as main source.

(iii)	400 mm2/3C cable to be provided from proposed 33 KV Sub-station Aliganj to the proposed Sub-station Khan Market as second source.

(iv)	An inter-connector 400 mm2/3C  to be provided from Sub-station Lok Nayak Bhawan to the proposed Sub-station Khan Market as third sorce.

Accordingly an estimate amounting to Rs.2,18,35,000/- has been framed for electrical works.

The estimated cost of Civil work is  Rs.57,62,000/-.

Total estimated cost of electrical and civil work is  Rs.2,75,97,000/-.

(5)	Financial implications :

Financial implications in the proposal is anticipated to be Rs.2,75,97,000/- which includes the cost of  electrical work and civil work.

(6)	Implementation schedule:

06 months

(7)	Comments of the Finance Deptt. on the subject :

Finance Deptt. vide Dy. No. 1639/Finance/R-Elect. dated 28-7-09 and No.1791/Finance/R-Elect. Dated 12-8-09 have concurred in the  estimate.

(8)	Reply of the Deptt. on the Comments of the Finance  Deptt.:

Nil

(9)	Legal implication of the Project:

No legal implication is involved.

(10)	Details of previous Council Resolution:

NIL

(11)	Comments of  Law Deptt.:

No law point is involved.

(12)	Comments of the Deptt. on the comments of Law Deptt.:

Nil

(13)	Certification by the Deptt. that all Central Vigilance Commission (CVC) guidelines have been followed:

It is certified that all Central Vigilance Commission (CVC) guidelines have been followed in processing the case.

(14)	Recommendation of the Deptt.:

The estimate amounting to Rs.2,75,97,000/-  for Establishing an Electric Substation  adjoining Barat Ghar, Khan Mkt., New Delhi  may be placed before the Council to accord administrative approval and expenditure sanction.  Since the work is of urgent nature, approval is solicited to take further action in anticipation to confirmation of the Minutes of Council Meeting.

(15)	Draft Resolution:

Resolved by the Council that Administrative approval and expenditure sanction is granted to the estimate amounting to Rs.2,75,97,000/- for Establishing an Electric Substation  adjoining Barat Ghar, Khan Mkt., New Delhi.  Further approval is accorded to take further action in anticipation to confirmation of the Minutes of Council Meeting.

COUNCIL’S DECISION

Resolved by the Council to accord administrative approval and expenditure sanction to the estimate amounting to Rs.2,75,97,000/- for Establishing an Electric Substation  adjoining Barat Ghar, Khan Mkt., New Delhi.

It was also resolved that further action in the matter be taken in anticipation of confirmation of the minutes by the Council.