ITEM NO. 16 (B-10)

- Name of the subject :  Purchase of 100  nos.11000Volts,350MVA,

Single Bus Bar  V.C.B./SF-6 Type  Indoor Switchgear Panels

( Tender No. 09/EE(S-II)/2005-06)

2.    Name of the Department: Electricity Department

- Brief History of the subject : The Planning division of the Electricity  Department of NDMC has got various estimate sanctioned as per annexure attached for the augmentation / replacement of HT Panels  in various electric Sub-Stations  including HT Panels required for  release of electric connection /Addl. Load for the New /Existing Buildings in NDMC Area .

4. Detailed proposal of the Subject:- NIT amounting to Rs.  3,98,86,312/- for the purchase of 100 nos. of HT Panels S.B.B V.C.B/SF-6 type was framed against the requirement of HT Panels existing  in various sanctioned Estimates issued by Electrical Planning Division to various Electrical Construction Divisions . After the  approval of the NIT from Engineer-in-Chief,  tenders in the three cover system were invited by publishing tender notices in three leading newspapers beside placing the tender information on NDMC/Delhi Government website and further sending the tender notice to all known manufacturers.  The tenders (Cover I & II only) opened on 06-10-2006 wherein only six firms submitted their offer.  During technical scrutiny and techno-commercial sub-committee meeting held in the chamber of Engineer-in-Chief   only three firms qualified for opening the Price Bid of their Tenders.  Price bids of the three firms were opened on due date and the position of three firms is as under:-

| S.No. | Name of firm | Quoted amount | Remarks |
| --- | --- | --- | --- |
| 1. | M/s AREVA T&D Ltd. | Rs.3,53,92,114 /- | L-1, 11.26% below the estimate cost put to tender Rs.3,98,86,312/- |
| 2. | M/s BIECCO Lawrie Ltd. | Rs.3,56,78,313-52/- | L-2 10.52% below the estimate cost put to tender Rs.3,98,86,312/- |
| 3. | M/s Crompton Greaves Ltd. | Rs.4,50,37,711-96/- | L-3 12.91% above the estimate cost put to tender Rs.3,98,86,312/- |

From the above comparative statement it reveals that “M/s AREVA,T&D Ltd.” has emerged as Lowest Tenderer in this Case by quoting Rs. 3,53,92,114.00  (Rupees three crore fifty three lacs ninety two thousands one hundred fourteen only), which is 11.26 % below the estimate cost put to tender i.e. Rs.3,98,86,312/-.

5. Financial Implication :-  Initially the required HT Panels shall be purchased against the budget provision of Rs 10 crore indicated  against Head of A/C  E-11 Purchase of Stores Item exists at Page No.68 of the budget book of 2007-08. Later on this expenditure shall be transferred to the respective sanctioned estimate whenever the HT Panels are drawn by Construction division for execution of their schemes. The expenditure involved for this purchase shall be  Rs 3,53,92,114-00  (Rupees three crore fifty three lacs ninety two thousands one hundred fourteen only) , inclusive of all taxes and duties.

6. Implementation Schedule: –  The firm shall commence the supply of panels with 40 no.s within 04 months & completion @ 15 no.s per two months thereafter or completion in 12 months after approval of drawings by NDMC, which shall be submitted  by  the firm, within 21 days after issue of Supply Order by NDMC.

7. Comments of the Finance Deptt. -

Finance has concurred in the proposal vide its diary no.1125/Finance/R-Electric/dt. 06-06-2007 , to place the Supply Order on “M/s  AREVA,T&D Ltd.” at their quoted offer  of Rs. 3,53,92,114-00  (Rupees three crore fifty three lacs ninety two thousands one hundred fourteen only) , inclusive of all taxes and duties, with certain observations as under:-

- Approval of Competent Authority.

- Availability of Funds.

- Correctness of facts and figures.

- No purchase has been made earlier against these Estimates.

- Supply will be received as per N.I.T.

8. Comments of the Deptt on comments of the Finance Deptt.

- Approval of Chairperson have been obtained to put up the case for getting Administrative Approval & Expenditure Sanction of the Council.

- Funds are available.

- Certified that the facts and figures are correct.

- No purchase has been made earlier against these estimates.

- Supply shall be as received as per N.I.T.

9. Legal Implication of the subject  :-    No legal implication involved

10. Details of previous council resolution:-     N/A

11. Comments of the Law Department:-     The Law Department concurred the case with the observation that no Legal implication is involved in this case.

12. Comments of the Department on Comments of the Law Department:-      No Comments

13. Recommendations:-   The case is noted to the Council for according administrative approval and expenditure sanction to place the Supply Order on “M/s AREVA T&D Ltd.” at their quoted offer of 3,53,92,114-00  (Rupees three crore fifty three lacs ninety two thousands one hundred fourteen only) inclusive of all taxes and duties, on the terms and conditions of the  NIT.

14. Draft Resolution:- Resolved by the Council to place Supply Order on “M/s AREVA T&D Ltd.” at their quoted amount of Rs.3,53,92,114-00  (Rupees three crore fifty three lacs ninety two thousands one hundred fourteen only), Inclusive of all taxes and duties, for the purchase of 100 no.s. 11000Volts, 350MVA,     Single Bus Bar,  V.C.B Type,  Indoor Switchgear Panels, in anticipation to the approval of the council.

COUNCIL’S DECISION

Resolved by the Council to place Supply Order on “M/s AREVA T&D Ltd.” at their quoted amount of Rs.3,53,92,114-00, Inclusive of all taxes and duties, for the purchase of 100 no.s. 11000Volts, 350MVA,   Single Bus Bar,  V.C.B Type,  Indoor Switchgear Panels, in anticipation of confirmation of the minutes.

ANNEXURE

| S.No. | Name of Work | HT Panel I/C | HT Panel O/G | HT Panel B/C |
| --- | --- | --- | --- | --- |
| 1 | Purchase of HT/LT Switchgears at S/S State Emporium, B.K.S. Marg, (E-08/95) | 02 | 03 | 01 |
| 2 | Replacement of HT LT Switchgears and Transformers at B-45-47, Connaught Place (E-13/2000) | 02 | 01 | Nil |
| 3 | Shifting of Electric S/S Palika Bazar from Basement to Ground Floor and replacement of Old HT/LT panels. (E-18/2002) | 02 | 03 | 01 |
| 4 | Replacement of HT/LT switchgear and transformer at 1 Red Cross Road, New Delhi (E-40/2002) | 01 | 04 | Nil |
| 5 | Replacement of HT/LT switchgears and shifting of existing transformers inside the shed at ESS Sapru House, New Delhi (E-56/2002). | 02 | 03 | 01 |
| 6 | Shifting of ESS at Harsha Bhavan, Connaught Place New Delhi (E-58/2002) | 02 | 02 | Nil |
| 7 | Providing HT connection to New Tamil Guest House, Chankyapuri, New Delhi(E-04/2003) | 03 | 02 | Nil |
| 8 | Estb.New Substation at Sri Lankan High Commission, Chankyapuri, New Delhi (E-27/2003). | Nil | 02 | Nil |
| 9 | Prov. HT duplicate feed and augmentation of substn. Capacity, Delhi Golf Club, for releasing additional load to Delhi Golf Club Limited at Dr. Zakir Hussain Marg, New Delhi(E-36/2004) | 01 | 01 | 01 |
| 10 | Providing HT connection to Handicraft Bhavan, BKS Marg, New Delhi (E-11/2004) | Nil | 02 | Nil |
| 11 | Providing HT connection to Morarji Desai Institute of Yoga at Ashoka Road, New Delhi(E-19/2004). | Nil | 01 | Nil |
| 12. | Providing HT feed to proposed s/s cum Laundry block cum workshop at AIIMS , New Delhi(E-22/2004) | Nil | 01 | 01 |
| 13. | Providing HT connection to Power Finance Corp. Fire Brigade lane , Connaught Place , New Delhi(E-28/2005) | Nil | 01 | Nil |
| 14. | Prov. Duplicate feed to ESS Aurangzeb Road New Delhi(E-36/2005s) | Nil | 01 | Nil |
| 15. | Providing HT connection to CTO cum Administration Block Harish Chander Mathur Lane Janpath, New Delhi(E-66/2002) | Nil | 03 | Nil |
| 16. | Estb. ESS at BSNL at Harish Chander Mathur Lane (E-67/2002) | 02 | 06 | 01 |
| 17. | Estb. Switching Station at AIR (ESD/NSD) complex and at Cement Godown at Mahdeva Road, New Delhi(E-30/2003) | 02 | 06 | 01 |
| 18. | Providing HT connection to Poket 1 and 2 of Rehablitation project of DMRC at Bhai Veer Singh Marg, New Delhi(E-07/2004) | 04 | 02 | 01 |
| 19. | Providing HT connection to ABH Mess SP Marg, New Delhi(E-13/2004) | Nil | 01 | Nil |
| 20. | Estb. S/S at Lawyers chambers, Supreme Court, New Delhi(E-16/2004) | 02 | 01 | Nil |
| 21. | Providing HT feed to proposed s/s cum Laundry block cum workshop at AIIMS , New Delhi(E-22/2004) | 05 | 01 | 01 |
| 22. | Replacement of HT/LT OCBs at ESS Indian National Theatre, 4, Safder Hashmi-Marg(E-21/2005) | 01 | 01 | Nil |
| 23. | Providing HT connection to ESS Trauma Centre, AIIMS at Raj Nagar(E-23/2005) | Nil | 01 | Nil |
| 24. | Providing HT connection to Power Finance Corp. Fire Brigade lane , Connaught Place , New Delhi(E-28/2005) | Nil | 01 | Nil |
| 25. | Providing Duplicate feed to HT substation 4 Aurangzeb Road, New Delhi | Nil | 01 | Nil |
| 26. | Replacement of existing HT PILCA cable of size 150 sq.mm. / 3 cores from s/s no.3 to s/s Sanchar Bhavan | Nil | 01 | Nil |
| 27. | Aug. of Transformer capacity and providing duplicate feed to Indian National Theatre , 4, Safder Hasmi Marg, New Delhi | 01 | 01 | Nil |
| 28. | Anticipated Requirements | Nil | 06 | Nil |
|  | TOTAL | 32 | 59 | 09 |