ELECTRICIAL DEPARTMENT

NEW DELHI MUNICIPAL COUNCIL

PALIKA KENDRA : NEW DELHI

APPLICATION FORM FOR GRANTING PERMISSION FOR THE INSTALLATION/ OPERATION OF D.G. SETS.

EE (H.Q.)

N.D.M.C.,

PALIKA KENDRA,

NEW DELHI.

Sir,

I, the authorized signatory of M/s ______________________________________

Who are the registered consumer of K.No. ___________________at premises No. __________________________ do hereby request for granting permission for the installation and operation of D.G. Set (s) under Section 44 of Electricity Supply Act, 1948. The particulars of D.G. Set (IN BLOCK LETTER):

- Name of the registered consumer ______________________________

- Address where D.G. Set(s) is/are proposed to be installed __________________________________________________________________

- K.No. ____________________________________________________________

- Sanctioned load : ___________________________________________________

- Particular of D.G. Set: _______________________________________________

# ALTERNATOR						ENGINE

Make								Make

S.No.								S.No.

RPM								RPM

Capacity							BHP

Volts

Amps.

It is further to undertake by me/us that D.G. Set shall be operated only as a stand-

by source of supply and we shall also pay the necessary electricity tax and any other levy which becomes applicable and abide by guidelines in respect of noise/air pollution as has been advised by NDMC or any other Govt. Agency from time to time. Further we are also enclosing the following documents along with the processing fees of Rs. ___________ in favour of the Secretary, NDMC through the bank draft No.______________________

Dated ________________________ as the processing charges at the rate of Rs. 75/KVA and with minimum of Rs. 1500/- and maximum of Rs. 7500/- for according us the permission for installation and operation of D.G. Set:

- Photocopy of last paid electricity bill duly signed by us indicating therein sanctioned/declared connected load.

- An undertaking to pay the Electricity Tax.

- A copy of the existing permission for operation of D.G. Set, and a copy of show-cause-notice, if any.

- Manufacturers certificate in respect of air/noise pollution as per the proforma on noise/air/stack height.

- Suppliers certificate in respect of noise control.

- Authorisation letter from registered/prospective consumer/company for authorized signatory.

- Structural Stability certificate in case D.G. Set in installed above ground floor.

- Copy of site plan showing location of proposed D.G. Set.

Yours Faithfully,

Signatory of the Registered

Prospective consumer/authorized

Signatory of the registered consumer.

#### AFFIDEVIT

Affidavit to be given on non-judicial stamp paper of Rs. 10/- and duly notorised  by the applicant along with application for grant of permission for installation of D.G. Set.

I/ We _________________ S/o _________________ R/o ___________________

Do hereby solemnly affirm and declare as under in the matter relating to my/our request for grant of permission for installation of D.G. Set in respect of premises No.___________ that _________________.

- I / We are authorized to sign the request for permission on behalf of the applicant.

- I / We undertake to pay the charges relating to generation tax and any other levy which becomes applicable as demanded by NDMC from time to time. In case of non-payment of generation tax by me/us the amount can be included in my/our permanent electricity connection against K.No.______ installed in premises No. _________________________  for which I / We shall have no objection.

- The proposed D.G. Set for which permission is sought meets all the requirement relating to smoke emission level, noise level and all other such requirement for the satisfactory operation requirement for the D.G. Set. The required certificate of the manufacturer of D.G. Set is also enclosed.

- I /We are the lawful occupant of the premises No. __________________ in support of which copy of rent receipt in case of tenant/lease agreement or in case of ownership copy of House Tax receipt of documents of ownership are enclosed alongwith application.

- No addition/alteration have been carried out in the premises and the generator set will be installed within our premises, if at any subsequent stage the structure of D.G. Set is required to be removed for which I/We shall have no objection for the action to be taken by the concerned competent Authority for the same.

- While installing the D.G. Set and during the course of its operation I / We undertake that proper care will be taken to ensure that no nuisance is created on account of operation of the D.G. Set to the occupants of the nearby area.

- In case of any of the information/documents given by me/us in respect of the application form for grant of permission for the operation of D.G. Set is found to be incorrect at any subsequent stage, NDMC shall liable to take action including disconnection of permanent electricity connection against K.No. __________ installed in premises No. ________________.

- That premises No. ____________________ is installed with permanent electricity connections against K.No. ________________ in the name of _______________

are still continuing for which the copies of last paid electricity bills are enclosed.

- That I/We  undertake to abide by all the terms and conditions and rules from time to time

of various agencies in operation of D.G. Set in my/our premises.

- Grant of permission  for operation of D.G. Set will not confirm any right for     regularisation of the structure made in building including the land use for the installation of D.G. Set and in case any action is initiated by the concerned authority in the matter, the same shall be at my/our risk and cost.

##### DEPONENT

CERTIFICATION:

I / We ______________ S/o _______________  do hereby verify that the contents of the affidavit are true to my/our knowledge.

Verified at Delhi ___________________ day of __________________ 200 ___

(TO BE ATTESTED BY NOTORY)				                       DEPONENT

TO WHOM IT MAY CONCERN

CERTIFICATE FROM THE INSTALLATING AGENCY

- This is to certify that we have supplied/installed the DG Set/s of the following make capacity and S.No. in the premises of M/s. __________________________________.________________________________________

- It is further  to certify that the stack height is __________________________________ matr.

- The DG Set has been installed in the acaustic enclosure and under normal operation of DG Set noise level is __________________________db (a), or the noise level _____________________db(a) atherefore________________ is not required.

- The DG Set has also been provided with proper exaust mufflar.

From authorised signatory

Of M/s____________________

TO WHOM IT MAY CONCERN

CERTIFICATE FROM THE MANUFACTURE/AUTHORISED DEALER

This is to certify that we have supplied DG Set of following make/capacity and S.No. to M/s. _________________________________________________________________________________ with the following characteristics :-

- This is to certify that the following DG Set/s of ____________________________________________ make with the capacity of _____________________ KVA and S.No.___________ does not contain dust particulars of more than 150 mg/nm.

- This is also to certify that the noise level of the DG Set/s was of the order of 85 to 90 db(a) at the distance or one meter from the DG Set at the manufacturing stage as the provision of EPR 1986.

- This is also to certify that DG Set/s noise level can be brought out within the limits of 40 to 75 db (a) by way of providing accustic enclosure and proper exhause/muffler.

From Authorised Signatory

M/s. _______________________________

___________________________

GUIDELINES FOR THE PURPOSE OF CONTROL OF AIR POLLUTION

The minimum height of stack to be provided with each generator set can be worked out by using the following formula :-

H		=	h + 0.2/_______________________

KVA

H		=	Total height of stack in meter

H		=	Height of the building in meter where generator set is installed.

KVA		=	Total generation capacity of the set in KVA.

Based on the above formula the minimum stack height to be provided with different rate of range of generator sets may be categorized as :-

| For Generator Sets | Total Height of Stack in Meters. |
| --- | --- |
| 000-050 KVA | Ht. Of the building + 1.5 Meter |
| 050-100 KVA | Ht. Of the building + 2.0 Meter. |
| 100-150 KVA | Ht. Of the building + 2.5 Meter |
| 150-200 KVA | Ht. Of the building + 3.0 Meter |
| 200-250 KVA | Ht. Of the building + 3.5 Meter |
| 250-300 KVA | Ht. Of the building + 4.0 Meter. |

Similarly for higher KVA, a stack height can be worked out using the above formula.

NOISE :

The Noise shall be kept below a level of 90 Decibels (on the A Scale).  This can be achieved by using silencers.

COMBUSTION EFFICIENCY

The owner of the set should have its combustion efficiency checked every year, so that the release of black smoke is kept to a minimum.

NEW DELHI MUNICIPAL COUNCIL

Guidelines for Grant of permission for Installation and Operation of DG Set.

- This application is for seek permission for installation and operation of DG Set as stand by source of energy up to a limit of 120% of the sanctioned/declared load.

- Sanctioned load/declared load should be clearly visible on the photocopy of last paid of electricity bill to be submitted by the application.

- The DG set permission is issued only to the registered consumers of NDMC or the prospective registered consumers only who have completed the commercial formalities.

- Application form should be filled up properly giving full particulars of alternator & engine for proper identification.

- For air and noise pollution two different proforma duly filled in by manufacturer/supplier / installing agency of the DG Sets, should be submitted along with application form enclosed.

- Stack height be maintained as per guidelines.

- Processing charges at the rate of Rs. 75/- KVA subject to minimum of Rs. 1500/- and maximum of Rs. 7500/- per generating set which are required to be paid in the shape of bank draft alongwith application form.

- No permission is required for Gen. Sets upto 10 KVA capacity.

- In case of illegal installation and operation of Gen. Sets, it is advised that illegal operation be stopped immediately being voilation of Section 44/45 of Electricity Supply Act, 1948.  However, each consumer should apply for compounding of voilation together with inspection fee to this office by a bank draft to Rs. 600/- and after confirmation from site that they stopped the seperation, their case shall be processed for compounding and grant of permission as per above guidelines.

- In case of concealment of any information as required in the application form, the permission, if any granted thereof shall be withdrawn and action as per rules shall be initiated.

- All the documents/proforma shall be duly signed by the Authorised Signatory/Registered /Prospective consumer/company shall also be submitted.