ITEM NO. 10 (A-77)

- Name of subject/project:   Rehabilitation of old sewer line.

Desilting and rehabilitation of 600 to 1000mm dia NP2 pipe line from Bhai  Veer Singh Marg to Sansad Marg & 1200 mm dia sewer line from Q. Point to  Zakir Hussain Marg  -  Preliminary estimate thereof.

- Name of Department concerned: Civil Engg, Department-I (PH-circle).

3. 	Brief history of the subject/project:-   The case in hand relates to a preliminary estimate amounting to Rs. 11,43,02,000/-  prepared on the basis of the DJB circulated rates in respect of the similar works for carrying out the desilting and rehabilitation of two sewer lines i.e.:-

  - 600mm to 1000mm dia NP2 RCC pipe lines from Bhai Veer Singh

Marg upto Sansad Marg   	-  1.5 Km.

  - 1200 mm dia RCC pipe from Q. Point to Zakir Hussain

Marg			- 1 Km.

The estimate has been framed to cover the cost of Desilting  as well as strengthening of the existing inner surface which has been decayed on account of chemical reactions of the RCC pipes with the sewage, as these lines are laid well before 1985 when only NP2 class pipes were being used  in sewerage works.

The lines have been found to be silted, collapse and settled which are being repaired from time to time.

- Detailed proposal on the subject/project: -  The proposal contains for desilting of the existing lines and strengthen the inner surface by providing CIPP liners of approved brand and manufacturer.

- Budget Provision:  Budget provision exists vide item no. 141 on p-V 1          (41) under the head D.2.17.12.A for Rs. 5.00 lacs for the current year. Since the works is likely to be undertaken physically on ground in 2009- 10. Necessary provisions have been made in the B.E. 2009- 2010.

- Implementation schedule with lines for each stage including processing:-  Execution of work shall be completed within 12 months from the actual award of the work.

- Comments of the Finance Department on the Subject:-  The Finance has concurred in the  estimate for an amount of Rs. 11,43,02,000/- vide their U.O. no. 2423/Fin. Dated 7.11.08 subject to the followings:-

    - The minutes of the meetings dated 17.7.08 as stated at p-12/N, may be placed on record.

    - Being a technical matter, the department may certify the technical feasibility and soundness of the scheme also clarifying as to why CIPP technology has been proposed over other technologies.

    - How old are the lines proposed under the instant PE and when were these last desilted and rehabilitated.

    - Why LAR based on NDMC awarded works/DJB awarded works have not been taken in the estimate.

    - Why NP2 pipe lines has been prioritized over NP3 or 4 .

    - The department may ensure that, if required, police permissions will be obtained for execution of work and the execution will not be hindered due to this reason.

    - Can the scheme not be taken under JNNURM funds.

    - In the review meeting of projects dated 4.8.08 & 19.8.08 under the Chairmanship of Chairman, it was decided that no work of sewer involving major digging for longer period of the roads be executed before CWG 2010, the department may clarify the position of this work, whether this may not go against the decision taken in that meeting.

- Comments of the Deptt. on observations of Finance Deptt:-

    - The minutes of the meeting dated 17.7.08 stands in respect of the approval of the project report in accordance with the Standing order no. 7 of 2003-04 and the same are placed in the file.

    - It has been observed through various literatures as well as feasibility study carried out by M/s. IIT in respect of other schemes wherein it has been categorically advised that CIPP technology stands over and above all technologies to be used for rehabilitation after giving due consideration to merits and de-merits of all the technologies available.

    - The lines laid are well before 1985 and the exact dates are not known in the records. No major desilting /rehabilitation work has been under taken so far except for regular maintenance on day to day basis .

    - The estimate has been framed on the rates circulated by DJB and since NDMC has not awarded any work of same size as such the estimate has been framed on the rates circulated by DJB and can not be framed on the rates of the awarded works in NDMC being of different sizes.

    - As brought out earlier prior to 1985 NP3 and NP4 class pipes were not being manufactured and only class NP2 class was available which were used in the laying of these lines at that time. Now NP3  & NP4 are used.

    - Police permission is always obtained for execution of work and since this process of rehabilitation is with ‘No Dig Technology’

as such no problems are being experienced for non-issue of police permissions in the execution of such type of work being under taken currently.

    - The schemes can not be taken under JNNURM funds as the schemes under these heads have already been executed and they do not qualify/ eligible for funding under JNNURM as per the guidelines.

    - Since these works are required to be carried out with ‘No Dig Technology’ as such the same shall be in accordance with the decision taken by Chairman in the Project Review Meetings and the works are likely to be executed well before CWG,2010.

9.	Legal implication of the subject/project:    Nil

10 	Comments of the Law Department on the subject/Project:     Nil

11. 	Comments on the comments of the Law Department:             Nil

12. 	CVC Guidelines:-  All codal  formalities in respect of the preparation of the estimates have been followed while framing the estimate in accordance  with the CVC guidelines.

13. 	Recommendations:-The case is laid before the Council for consideration and accord of A/A & E/S for an amount of Rs. 11,43,02,000/- (Rupees eleven crores, forty three lakhs, and two thousands) for the work of Desilting and rehabilitation of 600 to 1000mm dia NP2 pipe line from Bhai Veer Singh Marg to Sansad Marg & 1200 mm dia sewer line from Q. Point to Zakir Hussain Marg.

COUNCIL’S MEETING

Resolved by the Council to accorded A/A & E/S for an amount of Rs.11,43,02,000/- for the work of De-silting and rehabilitation of 600 to 1000mm dia NP2 Pipe line from Bhai Veer Singh Marg to Sansad Marg & 1200mm dia sewer line from Q Point to Dr. Zakir Hussain Marg.