ITEM NO. 12 (A-12)

- Name of subject/Project: -

Imp. to Palika Niketan Housing Complex, Sector-10, RK Puram.

SH: -Renewing damaged plaster with external face of blocks of Palika Niketan.

- Name of the Deptt.: -Civil Engineering Department

- Brief History: -

The Palika Niketan Housing Complex was constructed in two Phases i.e. in the year 1978 and 1986 respectively. At present the there are total 144 nos. of flats occupied by the class III & IV staff of the NDMC. The complex is very old and at present in dilapidated condition. Due to seepage/leakages, the structure of the Housing Complex has been damaged at many places. A meeting was conducted with Association of Palika Niketan, wherein it was decided that Preliminary Estimate considering rehabilitation of external as well as internal improvements may be put up at the earliest. Accordingly a Preliminary Estimate was framed for Rs.2,11,87,900/- for obtaining administrative approval & expenditure sanction of the Competent Authority.

Based on the recommendations of the sub-committee façade restoration of these buildings can be taken after structural rehabilitation. Accordingly, the provision for structural rehabilitation wherever required has also been considered in respect of the above Housing Complex and PE has been framed considering facade restoration, internal improvement and internal water supply and sanitary system.

- Detailed proposal on the Subject/Project: -

Major items considered in the estimate are as under:

  - Providing washed stone grit plaster on external walls of Housing complex.

  - Replacement of existing internal water supply and sanitary fittings including ceramic tiles in dados and floors.

  - Replacement of GI pipes and SCI pipes in residential complex.

  - Rehabilitation of structure at required places.

  - Water proofing on roofs.

  - Replacement of damaged doors and windows.

- Financial implication of the proposed Project: -

A total financial implications of proposal in hand would be Rs.2,11,87,900/-. There is a budget provision of Rs. One crore exists vide item no.213 at page 171 of budget book 2010-11, however rest of the budget will be sought in the Revised BE 2011-12.

- Implementation scheme: -

12 months from the date of award of work.

- Comments of the Finance Department on the subject: -

Finance has concurred the proposal vide Diary No. 982/Finance/R-Civil                   dated 11.05.10.

- Comments of department of on comments of Finance Department: -

No comments in view of concurrence of Finance Deptt.

- Legal implication of the Project: -

NIL

- Details of previous council resolutions, existing law of parliament and Assembly on the subject:

NIL

- Comments of the Law department on the Subject/project: -

NIL

- Comments of the department on the comments of Law department: -

NIL

- Certification by the department that all central Vigilance Commission (CVC) guidelines have been followed while processing the case.

It is certified that all CVC guidelines have been followed.

- Recommendations: -

It is recommended that administrative approval and expenditure sanction for Rs.2,11,87,900/- (Rupees Two crores eleven lacs eighty seven thousand nine hundred only) may be accorded. Permission may also be granted to take further action in anticipation of confirmation of the minutes of the Council.

- Draft resolution: -

It is resolved in the Council that administrative approval & expenditure sanction  is accorded for Rs.2,11,87,900/- (Rupees Two crores eleven lacs eighty seven thousand nine hundred only). Permission is also granted to proceed further in anticipation of confirmation of the minutes of the Council.

COUNCIL’S DECISION

Resolved by the Council to accord administrative approval & expenditure sanction amounting to Rs.2,11,87,900/- for the work of Imp. to Palika Niketan Housing Complex, Sector-10, RK Puram.

It was also resolved that further action may be taken by the Department in anticipation of confirmation of the Minutes by the Council.