ITEM NO. 14 (A-70)

1.	Name of the subject/project:

Improvement to Lal Bahadur Sadan Housing Complex.

Sub Head: Structure rehabilitation façade restoration and improvement of Lal Bahadur Sadan Housing Complex.

2.	Name of Deptt./Deptt. concerned:

Civil Engineering Department, NDMC.

3.	Brief History:

The Lal Bahadur Sadan Housing Complex was constructed in 1968 within the plinth area is 4950 Sqm. In this housing complex the following type of quarters are exists (i) Type-I - 2 Nos. (ii) Type-II - 72 Nos. (iii) Type-III - 20 Nos.  in all four stories.  No major work of improvement has taken place in this housing complex till to date.  In this regard a technical Sub-Committee was set up for a various housing complex and submit the report for improvement/upgradation work.  As well as a report for structural rehabilitation work has been submitted by the structural expert.  The Sub-Committee has circulated the report vide No.1814/SE (BM) dated 15.09.08 and recommended for structural rehabilitation and façade restoration.  The project report was signed by the member of the Sub-Committee and approved by the CE(C-II) that the proposal is required for structural rehabilitation and upgradation work in Lal Bahadur Housing Complex for the safety of occupants/allottee and to meet out their requirement as per new guidelines to improve their life style.

4.	 Detailed proposal on the subject/project:

The Sub-Committee has recommended for structural rehabilitation and façade restoration and improvement of Lal Bahadur Sadan which includes the following

1. Structural rehabilitation works i.e. repair RCC beams, column, roofs and chajjas.

2. Improvement/façade restoration works:-

i)	Stone Grit was on exterior surface.

ii) 	Water proofing on terrace.

iii)	Providing Kota stone on CC stair case.

iv) 	Providing on flooring as per norms in each type of Qrs.

v)	Replacement of toilet door with frame.

vi)	Improvement of shaft with SCI & GI pipe.

vii) 	Replacement all wooden window with window.

viii) 	Replacement all wooden cup board with MS cup board.

ix) 	Sanitary fittings.

5.	Financial implications of the proposed/project/subject:

The structural rehabilitation and improvement work being carried out to increase the life of the structure and hence the socio-economic aspect will be met.  These staff quarters will be going to serve more life after structural rehabilitation and improvement for which a Preliminary Estimate amounting to Rs. 2,64,32,000/- has been prepared for obtaining   A/A & E/S of the Council.

6. 	Implementation schedule:

12 months after award of work.

7.	Comments of Finance Deptt.:

We concur in the estimate amounting to Rs.2,64,32,000/-  (Two Crore Sixty four lacs and thirty two thousand only) as checked by Planning and proposed by the department.  The department may ensure that the items replaced out of the expenditure Rs. 40 Lacs during last five years are not included in the proposed work, if these have not outlived their prescribed life.

8.	Comments of the Department on comments of Finance Deptt.:

The expenditure of Rs. 40 Lacs Approx. was incurred on maintenance and special repair of the building which include the major part of regular white washing and painting inclusive of minor repair works.  It is ensured that the items replaced out of expenditure of Rs. 40 lacs during the last five years are not included in the proposed work, if these have not outlived their prescribed life.  Finance has seen these clarifications and there are no further comments to offer.

9.	Legal Implication of the project:

Nil

10.	Details of previous Council Resolutions, existing law of Parliament and Assembly on the subject:

Nil

11.	Comments of the Law Department on the subject/project:

No law point is involved.

12.	Comments of the Department on the comments of Law Deptt:

Nil

13.	Certification by the Deptt.

Certified that all Central Vigilance Commission (CVC) guidelines have been followed while processing the case.

14.	Recommendation of the Department:

The case is placed before the Council for obtaining A/A & E/S amounting to Rs.2,64,32,000/- for structural rehabilitation and improvement of Lal Bahadur Sadan Housing Complex.

Permission may also be granted to proceed further for technical sanction of DE, approval of draft NIT and call of tenders in anticipation of confirmation of the minutes of the Council.

15.	Draft Resolution.

Resolved by the Council that the proposal for Structural  rehabilitation façade restoration and improvement of Lal Bahadur Sadan Housing Complex amounting to Rs. 2,64,32,000/- as proposed by Sub-Committee has been approved and department may take further action in anticipation of confirmation of the minutes by the Council.

COUNCIL’S DECISION

Resolved by the Council to accord approval to the proposal for Structural rehabilitation façade restoration and improvement of Lal Bahadur Sadan Housing Complex amounting to Rs.2,64,32,000/-.

It was also resolved that further action in the matter be taken in anticipation of confirmation of the minutes by the Council.