ITEM NO.11 (A-20)

1. Name of Work:	Strengthening of Water Supply System in NDMC Area.

SH:			Shifting of existing CI Pipe passing along/below the

open drains and RCC pipes at Golf Link and Jor Bagh

2. Name of the Deptt:  Civil Engineering, Public Health Circle,

Water Supply Division

3. Brief History of the Subject

The existing filter water main lines are running/passing below the storm water drains.  At some places, there are open drains and at some places covered drains with RCC pipes.  From these main line, individual water connections have been provided to various premises.  It becomes very difficult to check the water supply complaints of the premises and leakages in the main lines, as these drains are running along the boundary walls of the bungalows.  Contamination complaints are also received frequently, as some times sewerage water also flows in the open drains due to over flow or blockage of sewer lines.  Last year, lots of complaints were received from Jor Bagh Area and difficulty was felt in locating the defects.  The existing line is more than 50 years old.

4. Detailed Proposal of the subject

As per standing order No. 15, of 7.6.05 a sub-committee was nominated by Chairperson comprising of the following officer:

- Er. R.S. Thakur, SE (PH)

- Er. N.N. Sharma, SE (Construction)

- Er. A.K.Pathak, EE (Planning)

- Er. K.K. Jetley, EO (C-I)

- Er. C.M. Narang, EE (W/S)

All the members of the Sub-Committee are of the opinion that there is no other alternative except to replace the existing pipeline and agree with the provision of the proposed estimate.

5.Financial implications of the proposed subject

The P.E. amounting to Rs. 57,57,100/- duly checked by planning has been framed.  There is a budget provision of Rs. 30.00 lacs exists vide item No. 265 (11) under the head F-11 of the budget book of the year 2007-08, additional fund will be sought in the RE of 2007-08.

6. Implementation schedule with timeliness for each stage including

processing

After approval of Preliminary Estimate & accord of administrative approval and expenditure sanction from the Council, the following time schedule will be implemented:

A.	Detail estimate, NIT and award of work			3 months

- Shifting of old CI lines with DI pipe of

100/150mm dia.                                           		6 months

7. Comments of the Finance Department on the Subject

The observations of the Finance Department dt. 7.12.06, 15.12.06, 30.04.07 and 5.6.07 were clarified and finally, the Finance has observed as under:-

“All the three divisions viz. sewerage, drains and water supply used to be under one circle i.e. Public Health under overall control and supervision of S.E. (Public Health).  Laying sewerage & drains lines near/ above the already laid water lines conveys that the problem being faced now was not foreseen, which negates the purpose of putting all these three divisions under one umbrella.  Had the schemes of drainage & sewerage been put to proper technical scrutiny having regard to the site plan of water lines earlier laid, the solution now being proposed at a cost of over Rs. 57 lakh would have been taken care of at that point of time and the expenditure being proposed would have been avoided.  E-in-C may kindly look into this point and take suitable steps like technical scrutiny of each and every scheme relating to drainage, sewerage & water supply with reference to existing location of these services through site plans so as to avoid the situation as has arisen in the instant case.

Subject to above, we clear the estimate advising the department to seek adequate funds for this scheme.  A specific certificate to the effect that the site where the water line in question is proposed to be shifted is not having any drainage & sewerage lines nearby, which may cause contamination to the water & has/will have sufficient space for doing maintenance of the line whenever the need so arises.

8. Comments of the department on comments of Finance Deptt.

It is clarified that the department take into consideration all technical and other aspects whenever any water supply/ sewerage scheme is framed.  The pipe lines which are proposed to be replaced under this scheme were laid more than 50 years ago. Lot of development and expansion has taken place during these last 50 years with a result the line which was laid 50 year ago has come under some built up areas.  It is confirmed that the new route of the line now proposed is free from built up area and away from existing sewerage and drainage system.  The new line will give the service for its stipulated life span and there will not be any contamination of water during its life span.

9. Legal implication of the subject

Not applicable

10. Details of previous Council Resolutions existing law of Parliament

and Assembly on the subject

No applicable.

11.Comments of the Law Department on the subject

Not applicable

12. Comments of the Department on the comments of Law Deptt.

Not applicable

13. Recommendation

The case is placed before the Council for consideration and accord of administrative approval and expenditure sanction to the preliminary estimate amounting to Rs. 57,57,100/-  ( Rupees Fifty seven lacs fifty seven thousand one hundred only)

COUNCIL’S DECISION

Resolved by the Council that the administrative approval and expenditure sanction to the preliminary estimate amounting to Rs.57,57,100/- is accorded for strengthening of Water Supply System in NDMC area.