ITEM NO. 23 (B-34)

- Name of work: -	Providing Park & Ride & Holding facility at Safdarjung Airport for Common Wealth Games 2010.

Sub Head: - 	Temporary Lighting in Parking area at Safdarjung Airport.

- Department: - 	Electricity Department.

- Brief history of the proposal:-

Chief Secretary in the meeting dated 26/08/2008 decided that NDMC shall provide park & Ride facilities at Safdarjung Airport for CWG 2010. Accordingly Council vide Reso. item no. 21(A-53) dated 17.06.2009 has accorded A/A & E/S to the preliminary estimate to amounting to Rs.50 crores as a deposit work. The cost would be borne by the Govt. of NCT Delhi.

4.	Detailed proposal of the subject:-

Keeping in the view the site requirement, tender were invited for providing, commissioning & operation of 15 nos. High mast of 30 mtr. Height with suitable number of metal halide 1500/2000 watt fittings to illuminate the parking area with alongwith adequate capacity DG set on hire basis for one month has been made. The high mast shall be installed alongwith boundary wall of Safdarjung Airport Authority.

In the first call of tender none of the firms responded. The tender were re-invited & due date fixed on 31.12.09. Four firms responded on the extended due date. One firm did not meet eligibility criteria so financial bid of remaining three eligible firms were opened. M/s Bajaj Electricals emerged as the lowest tenderer. There quoted cost comes to Rs.1,18,99,995/- which is 40.70% below the estimated cost of Rs.2,00,74,595/- put to tender. The quoted rates are considered workable, reasonable & acceptable. The case was according recommended for award the work to lowest tenderer M/s Bajaj Electricals at total costing Rs.1,18,99,995/-. The case has been examined by Plg. Divn.

Finance has seen & concurred in the proposal.

5.	Financial Implications:-

Rs.1,18,99,995/- (Rupees One crore eighteen lacs ninety nine thousand nine hundred and ninety five only).

- Implementation schedule: - Completion within 60 days.

- Comments of Finance Deptt:-

Finance has concurred vide diary no.431 dated 19.02.2010 with no further comments.

- Comments of the department on the comments of Finance Deptt:-  -Nil-

- Legal implication of the subject: - No legal implication is involved.

- Detail of previous Council Resolution:-  Res. item no. 21(A-53) dated 17/06/09.

- Comments of Law Deptt.:- -Nil-

- Comments of the deptt. on the comments of Law Deptt:- -Nil-

- Certification by the deptt. that all Central Vigilance Commission guidelines have been followed:-

All CVC guidelines have been followed.

- Recommendations:-

The case may be placed before the council for approval to award the work for “Temporary Lighting in Parking area at Safdarjung Airport” to the lowest tenderer i.e. M/s Bajaj Electricals at their quoted rates of Rs.1,18,99,995/- on the terms conditions & specification of NIT. Since the work related to CWG 2010 is of urgent nature, approval is solicited to award the work in anticipation to the confirmation of the minutes of Council Meeting.

- Draft Resolution:-

Resolved by the council that approval is accorded to award the work for “Temporary Lighting in Parking area at Safdarjung Airport” to the lowest tenderer i.e. M/s Bajaj Electricals at their quoted rates of Rs.1,18,99,995/- on the terms conditions & specification of NIT. Approval is also accorded to award the work in anticipation to the confirmation of the minutes of council meeting.

COUNCIL’S DECISION

Resolved by the Council to accord approval for award of the work to the lowest tenderer i.e. M/s Bajaj Electricals, at their quoted rates of Rs.1,18,99,995/- for “Temporary Lighting in Parking area at Safdarjung Airport” on the terms conditions & specification of NIT.

It was also resolved that further action may be taken by the Department in anticipation of confirmation of the Minutes by the Council.