ITEM NO. 07 (B-29)

1.	NAME OF WORK:

Replacement of 33KV outdoor switchgear with indoor GIS system at S/S Nehru Park.

2.	Name of the Department- ELECTRICITY DEPARTMENT

- Brief history of the proposals-

The Sub-station Nehru Park is important ESS catering power supply to the Embassies & other prestigious Govt. and commercial establishments, hence its reliability and strengthening is important concern to meet up with the requirement of good quality and uninterrupted power supply.

At present Sub-station in question is in very compressed form as there is no additional space available to accommodate additional switchgears and control panels. In this regard an inspection was carried out by the senior officers of NDMC and it was deliberated that the adjoining space available along side the existing building shall be utilized for extension of Sub-station building to accommodate the 33KV GIS and protection devices. GIS panel is a very compact, reliable and maintenance free equipment and it occupies very less space.

The Chairman, NDMC has kindly accorded in-principle approval to the proposal for replacement of outdoor 33 KV Switchyard at 33KV ESS Nehru Park with indoor 33KV GIS System since this Sub-station installed with only 3Nos. outdoor MOCB’s for the meant of protection which has served its prescribed useful life. Further this proposal and conceptual design was got approved by the Architect Deptt

- Detailed proposal on the Project-

The proposal is made to improve the reliability of power supply in adjoining area by providing latest technology equipment which is almost maintenance free system

- A 33KV GIS board comprising of 9 panels with  C&R Board comprising of I/C-3 Nos.+O/G-2 Nos.+B/C-2Nos.+Interconeector-2Nos.

- Construction of double storey building for accommodation of 33KV GIS system.

5.		Financial Implications-

Rs. 385.35 Lacs including 3% contingencies. The expenditure shall be chargeable to the Head of A/c E-3 under the Replacement works for which a budget provision of Rs. 192.67 Lacs has been kept in the RE 2010-11 and subsequently Rs. 192.68 Lacs in BE 2011-12.

- Implementation schedule with timeline for each stage including internal processing: -.

The scheme will be executed within 18 months &shall be executed departmentally / contract.

.

- Comments of the Finance Department on the subject:-

The Finance Deptt. has concurred the estimate vide diary No.2218 /Finance /R Elect. dated 20.10.10. with  no further comments.

- Comments of the Department on comments of Finance Deptt:-

Nil

9.	Legal implications of the Project: -

No legal implication is involved.

10         Details of Previous Council Resolution;-

Nil

11. 	Comments of the Law Deptt. on the Project:

Nil

12.  	 Comments of the Deptt. on the Law Deptt:

Nil

13	Certificate on CVC Guidelines:-

All CVC guidelines shall be adhered to while processing the case.

14.	Recommendation:-

The estimate amounting to Rs 385.35 Lacs for Replacement of 33KV outdoor switchgear with indoor GIS system at S/S Nehru Park may be placed before the Council to accord Administrative Approval and Expenditure Sanction. Since the work is of urgent nature, approval is solicited to take further action in anticipation to confirmation of the Minutes of Council Meeting.

15.	Draft Resolution:-

Resolved by the Council that Administrative Approval & Expenditure Sanction, is granted to the estimate amounting to Rs 385.35 Lacs for Replacement of 33KV outdoor switchgear with indoor GIS system at S/S Nehru Park. Further approval is accorded to take action in anticipation to confirmation of the Minutes of Council Meeting.

COUNCIL’S DECISION