ITEM NO.16 (B-40)

Subject: Purchase of five, 11kV, 350 MVA, Vaccum, Single Bus Bar, Indoor type switchboard without remote control.

Department: Electricity Department

Brief History of Proposal

Based on the sanctioned estimates, having provision of 11kV, 350 MVA, Vaccum, Single Bus Bar Indoor type switchboard without remote control panels, for various works, an NIT amounting to Rs. 1,03,45,188/- was approved by CE (E-II) for the purchase of HT Panels on 22.06.06.

DETAILED PROPOSAL ON THE SUBJECT:

Sealed tenders were invited for the purchase of five Nos. 11 KV, 350 MVA, HT panel Board in three-cover system. In response to the tender enquiry offers from five firms namely: 1. M/s BHEL,2. M/s Crompton Greaves Limited, 3. M/s Areva T & D Limited and 4. M/s ABB Limited and 5. M/s Siemens Ltd. were received on the due date.

After opening the covers containing techno-commercial offers of the participating firms, certain deviations were observed in the offers of the firms and accordingly Techno-commercial discussions were held by the Standing Technical Evaluation Sub-committee under the chairmanship of Engineer-in-chief on 08.12.06 with the participating firms. After the discussions it was found that offers of two participating firms namely; M/s Areva T & D Ltd. and M/s BHEL still had deviations with respect to NIT and these were again discussed by the Technical Evaluation Sub-committee in its meeting held on 09.02.07 under the chairmanship of Engineer-in-chief wherein it was decided to reject the offers of both these firms.

The case was thereafter referred to Law & finance department who agreed with the decision. Chairperson accepted the recommendations of the sub-committee to reject the offers of M/s BHEL and M/s Areva T & D Ltd..

Thereafter price bids of remaining eligible firms were opened and M/s Crompton Greaves Ltd. emerged the lowest tenderer at a total computed cost of Rs.1,09,53,008/-. The case was examined in Planning and thereafter in finance. Finance concurred the proposal for purchase on 05.12.07.

FINANCIAL IMPLICATIONS – Rs. 1,09,53,008/- (Rupees One Crore Nine Lacs Fifty Three Thousand Eight Only).

IMPLEMENTATION SECHEDULE:  Five months with a drawing-submission period of three weeks.

COMMENTS OF FINANCE:

Finance concurred in the proposal of the department to place the supply order on M/s Crompton Greaves Limited at their computed cost of Rs.1,09,53,008/- for purchase of 5 Nos. 11 KV, 350 MVA, SBB, Vaccum, Indoor type switchboards without remote control, subject to certification of following conditions:

- Availability of funds.

- Approval of the Competent authority

- Correctness of information and data submitted by the Department.

- The justification statement be got signed by Planning Division before seeking approval of the Competent Authority.

- Check list/Scrutiny note of Planning Division be got signed by SE (E-II), SE (P) and CE (E) before seeking approval of the Competent Authority.

- It may be certified that no procurement has been made so far against the estimates mentioned at page N/4 against which the procurement is proposed.

COMMENTS OF THE DEPARTMENT ON COMMENTS OF FINANCE:

1.	Funds are available.

2.	Approval of competent authority is being obtained and case is being put up to Chairman/Council for approval.

3.	The information and data submitted by the Department are correct.

4.	The case has been duly examined by Planning & found in order. Signatures of planning division are appearing on N/124 in the file.

5.	Needful done.

6.	It is certified that no procurement has been made so far against the estimates against which procurement is proposed.

LEGAL IMPLICATIONS: 		NIL

COMMENTS OF LAW DEPARTMENT:

No law points is involved in the matter therefore department may take the action at their own end.

COMMENTS OF DEPARTMENT ON COMMENTS OF LAW DEPARTMENT: 	NIL

RECOMMENDATIONS: Department recommends to place the order for purchase of 5 Nos. 11 KV, 350 MVA, Vaccum, SBB, Indoor type switchboards without remote control on M/s Crompton Greaves Limited at a computed amount of Rs. 1,09,53,008/- and at the terms and conditions of the NIT.

The expenditure on this account shall be charged to the budget head E.11 “purchase of Stores” wherein a budget provision of Rs.25 Crores exists during the current financial year 2007-08.

DRAFT COUNCIL’S DECISION

Resolved by the council to place the order for purchase of 5 Nos. 11 KV, 350 MVA, Vaccum, SBB, Indoor type switchboards without remote control on M/s Crompton Greaves Limited at a computed amount of Rs.1,09,53,008/- and at the terms and conditions of the NIT.

It was further decided by the council that since the validity of the offer is only upto 31.12.2007, supply order be placed in anticipation of confirmation of the minutes.

COUNCIL’S DECISION