ITEM NO. 19 (B-23)

- Name of work:- Estimate for providing of park facing road light poles in Sarojini Nagar Area.

- Department:- Electricity Department.

- Brief history of the proposal:-

NDMC has taken all the park in CPWD residential area from CPWD. Several requests/complaints were received from the resident and RWAs of Sarojini Nagar Area and instructions has also been received from the Office of Chief Minister, NCT Delhi for providing of park facing road light in Sarojini Nagar. At present there are no any park lighting in most of the parks.

- Detailed proposal of the subject:-

A detailed survey was carried out and following decision were taken.

(1)	As the road lighting is required for small square park, having area approx. 30 meter X 30 meter and there is no traffic movement, so small watts light may be provided for such location to restrict the unnecessary increase of load.

(2)	The doors and window of the flat opened in the director of these square so it is proposed to install 65 watt street light fitting with day light CFL lamp to provide soft light.

(3)	To maintain symmetry in the area, has also proposed to replace existing 150 watt sodium light fitting with 65 watt CFL fitting also in park.

(4)	The dismantled 150 watt fitting can be installed in Nauroji Nagar area at main road where at present 70 watt sodium fittings are working and needs to better lux level.

- Financial Implications:-

Rs.1,36,95,000/- (Rupees One crore thirty six lacs ninety five thousand only).

- Implication of schedule:- Completion within 10 months.

- Comments of Finance Deptt.:-

Finance has seen and concurred the preliminary estimate vide diary no.FA-2217 dated 15.10.09 with no comments.

- Comments of the department on the comments of Finance Deptt.:-   Nil.

- Legal implication of the subject:- No legal implication is involved.

- Detail of previous Council Resolution:- Nil.

- Comments of Law Deptt.:- Nil.

- Comments of the deptt. on the comments of Law Deptt:- Nil.

- Clarification by the deptt. of Central Vigilance Commission guidelines have been followed:- All CVC guidelines have been followed.

- Recommendations of the deptt.:-

The preliminary estimate amounting to Rs.1,36,95,000/- for the work  providing of park facing road light poles in Sarojini Nagar Area may be placed before the Council to accord A/A & E/S. Since the work is of urgent nature, approval may also be solicited to take further action in anticipation of confirmation of the minutes of Council meeting.

- Draft Resolution:-

Resolved by the Council that A/A & E/S is granted to the preliminary estimate amounting to Rs.1,36,95,000/-  for the work  providing of park facing road light poles in Sarojini Nagar Area. Further approval is accorded to take action in anticipation to confirmation of the minutes of Council meeting.

COUNCIL’S DECISION

Resolved by the Council to accord administrative approval and expenditure sanction to the preliminary estimate amounting to Rs.1,36,95,000/-  for the work of providing park facing road light poles in Sarojini Nagar Area.

It was further resolved that further action in the matter be taken in anticipation of confirmation of the minutes by the Council.

It was also resolved that this type of work will be undertaken by the Electricity department in all colonies under the jurisdiction of NDMC in a phased manner.  The Council authorized the Chairperson, NDMC to accord administrative approval and expenditure sanction for proposals related to this work ; but for award of tender, the cases will be put up to the Council for approval.