ANNEXURE – III

ITEM NO. 05 (B-22)/27.10.2010

1.	NAME OF WORK:

Establishment of 33KV ESS at Handloom Complex, Janpath Lane

- Name of the Department :

ELECTRICITY DEPARTMENT

- Brief history of the proposals-

The power demand surrounding Janpath lane and nearby area is increasing rapidly due to redevelopment of the area, increase in the demand of the existing consumer due to air-conditioning and computerization etc. The existing 33KV ESS in the area are loaded more than 80% their Capacity. Now at the Janpath lane the Handloom complex is being redeveloped and load of the new complex would be more than 4MVA. Presently load demand of the area is being fed through 11KV network therefore establishing of 33KV New S/S is essential.

4.	Detailed proposal on the Project-

Keeping in view the incoming load demand more than 4MVA for  Handloom Complex and surrounding area; future load and to keep the system more flexible and reliable. Following are being proposed in the estimate.

- 16/20MVA, 33/11KV Pr. Transformer		 -	2No.

- 33KV GIS 6-panel with its C&R Board		 -	1No.

- 33KV, 3CX400mm2 , Al conductor XLPE cable	 - 	5800M

- 11KV, VCB 11-panel with its C&R Board          	 -	1No.

There shall be two independent feed each from 220/33KV HCM lane and 66/33KV ESS School Lane are proposed.

5.		Financial Implications-

An estimate amounting to Rs.735.69 Lacs including 3% contingencies has been prepared to cover the cost of the above work including the cost of the building and allied works.

The expenditure shall be chargeable to the Head of A/c E-4-1 under the Original works for which suitably provision shall be kept in the RE 2010-11 and subsequently in BE-2011-12.

6 	Implementation schedule with timeline for each stage including internal processing: -.

The scheme will be complete within 14 months after sanction of estimate.

- Comments of the Finance Department on the subject:-

The Finance Deptt. has concurred into the estimate vide diary No.2090/PS/FA/D-10 dated 03.09.2010 with  no further comments.

- Comments of the Department on comments of Finance Deptt:-

Nil

9.	Legal implications of the Project - No legal implication is involved.

10.	Details of Previous Council Resolution:-

Nil

11. 	Comments of the Law Deptt. on the Project:

Nil

12.  	 Comments of the Deptt. on the Law Deptt:

Nil

13	Certificate on CVC Guidelines:-

All CVC guidelines shall be adhered to while processing the case.

14.	Recommendation:-

The estimate amounting to Rs.735.69 Lacs  for establishing 33KV ESS at Janpath Lane including Civil work, may be placed before the Council to accord Administrative Approval and Expenditure Sanction. Since the work is of urgent nature, approval is solicited to take further action in anticipation to confirmation of the Minutes of Council Meeting.

15.	Draft Resolution:-

Resolved by the Council that Administrative Approval & Expenditure Sanction is granted to the estimate amounting to Rs.735.69 Lacs for establishing 33KV ESS at Janpath Lane including civil work. Further approval is accorded to take action in anticipation to confirmation of the Minutes of Council Meeting.

COUNCIL’S DECISION

Resolved by the Council to accord administrative approval & expenditure sanction to the estimate amounting to Rs.735.69 Lacs for establishing 33KV ESS at Janpath Lane including civil work.

It was also resolved that further action may be taken by the Department in anticipation of confirmation of the Minutes by the Council.