ITEM NO.8 (B-5)

1.	NAME OF SUBJECT/PROJECT:-

Providing Fire prevention and Fire safety measures in various NDMC buildings.

S.H.: Providing and installation of Automatic Fire Protection System at Shaheed Bhagat Singh Place, DIZ Area, Gole Market, New Delhi.

2.	NAME OF THE DEPARTMENT CONCERNED:

Civil Engineering Department.

3.	BRIEF HISTORY OF THE SUBJECT/PROJECT:

An Office cum Shopping Complex was constructed by NDMC in Gole Market in 1992.  This building was named as Shaheed Bhagat Singh Place.  The Building comprises of basement plus 03 floors.  No fire prevention and safety measures were provided in the building at the time of its construction.

After the unfortunate fire accidents in Uphar Cinema and in Chanderlok Building, NDMC, Janpath the National Building Code was modified making it mandatory to provide Fire Fighting/Fire Prevention System in Building having mix use i.e. market and offices etc. even though they may have a height of less than 15 meters.  M/s. V.S. Kukreja and Associates (P) Limited were appointed as Fire Consultant for this Building.  A scheme for providing Fire Safety and Fire Prevention was prepared by them which was approved by Delhi Fire Service.  An A/A and E/S to the preliminary estimate amounting to Rs.1,13,29,800/- was accorded by the Council vide it’s Resolution No. 3(A-7) dated 30.11.2004.

## The detailed estimate amounting to Rs.1,11,94,000/- was technically sanctioned by C.E. (C).  The Draft NIT amounting to Rs.1,08,55,899/- was approved by C.E. (C-II).  Based on the approved draft N.I.T. tenders were invited for the work.

Tenders received in the first call were rejected by the Chairperson.

The tenders were re-invited and opened on 1.12.2006 when five tenders were received. The lowest rate of 22.67 % above the estimated cost has been quoted by M/s. Jaspin Jacob Wire Drawing Pvt. Ltd, tendered amount being Rs.1,33,17,414/- whereas the justification of rates works out to 39.20% above. Consultants, M/s. V.S. Kukraja & Associates (P) Ltd. have recommended for acceptance of the lowest offer of M/s. Jaspin Jacob Wire Drawings Pvt. Ltd.

4.	DETAILED PROPOSAL OF THE SUBJECT:

The proposal, mainly includes the Wet Riser System with pump, D.G. set, Sprinkler System, Fire Check doors, Fire detection/alarm system etc. in Shaheed Bhagat Singh Place.

5.  	FINANCIAL IMPLICATION OF THE PROPOSE SUBJECT/PROJECT:-

An amount of A/A & E/S of the work is Rs.1,13,29,800/- was accorded by Council vide Resolution No. 3(A-7) dated 30.11.2004/ The work is likely to be started in the next financial year 2007-08.  A provision of Rs.1.50 crore has been sought for in B.E. 2007-08 under the Head of A/c C.3.8 (xiii) pertaining to Fire Fighting arrangements in Municipal Buildings.

6.	IMPLEMENTATION SCHEDULE WITH TIME LIMIT FOR EACH STAGE INCLUDING INTERNAL PROCESSING:-

Award of work April, 2007.

Execution/completion of work October, 2007.

7.		COMMENTS OF THE FINANCE DEPARTMENT ON THE SUBJECT:

“ We agree with the recommendations of EIC i.e. acceptance of the offer of L-1 at 22.67% above the estimated cost against the justified rate at 39.20% above the Estimated Cost.  Department is, however, advised to follow the procedure as stipulated under Para 20.16.5 of CPWD Manual Vol. II in respect of absurdly high & low rates items of work during execution of work.”

8.	COMMENTS OF THE DEPARTMENT ON COMMENTS OF FINANCE DEPARTMENT.

The procedure as stipulated under Para 20.16.5 of CPWD Manual Vol. II in respect of absurdly high & low rates items of work during execution of work shall be followed as advised by Finance Department.

9.	LEGAL IMPLICATION OF THE SUBJECT/PROJECT:

Nil

10.	DETAILS OF PREVIOUS COUNCIL RESOLUTION, EXISTING LAW OF PARLIAMENT AND ASSEMBLY ON THE SUBJECT:-

A/A & E/S for Rs.1,13,29,800/- accorded by the Council vide Resolution No. 3(A-7) dated 30.11.2004.

11.	COMMENTS OF LAW DEPARTMENT ON THE SUBJECT/PROJECT.

No law point is involved.  This is our concurrence.

12.	COMMENTS OF THE DEPARTMENT ON THE COMMENTS OF LAW DEPARTMENT:

No comments.

- RECOMMENDATIONS:

It is recommended that the lowest offer of M/s. Jaspin Jacob Wire Drawing Pvt. Ltd @ 22.67% above the Estimated Cost of Rs.1,08,55,899/- may be accepted for a total tendered value of Rs.1,33,17,414/-.

The total tendered value works out to Rs.1,33,17,414/- whereas A/A & E/S was accorded by the Council for Rs.1,13,29,800/- . The tendered value is more than 10% of the amount of A/A & E/S as such it is recommended that the revised A/A & E/S  for an amount of Rs.1.40 crore ( tendered value plus 5% contingencies) may also be accorded.

14.     DRAFT RESOLUTION:

Resolved that the lowest tender of M/s. Jaspin Jacob Wire Drawing Pvt. Ltd. @ 22.67% above the Estimated Cost for a total tendered value of Rs.1,33,17,414/- may be accepted.

Further  resolved that revised A/A & E/S for an amount of Rs.1.40 crore is accorded for this work.

COUNCIL’S DECISION

Resolved by the Council that the lowest tender of M/s. Jaspin Jacob Wire Drawing Pvt. Ltd. @ 22.67% above the estimated cost for a total tendered value of Rs.1,33,17,414/- is accepted.

Further resolved by the Council that the revised administrative approval and expenditure sanction for an amount of Rs. 1.40 Crore is accorded.